## PPU-SSU
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | Label | Category | Design | ERMS System Status | ERMS User Status | Name | Voltage In/Out | Voltage In/Out [Old] | Date Commissioned | Remarks - JPKR | Remarks | Feeder Points | Transmission Circuits
7702704 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00011 | PBEL | PPU | PPU 33/11kV |  |  | PPU BKT BELIMBING |  | 33/11 kV |  |  |  | 19 | 0
28567982 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PMU/G00001 | CJYA | PMU | PMU 132/33/11 kV (DOUBLE BUS) |  |  | PMU CHERAS JAYA 132/33/11kV |  | 132/33 kV | 1989-01-01 |  |  | 20 | 0
59038206 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00012 | PPU MHCR2 | PPU | PPU 33/11kV |  |  | PPU MOBILE MAHKOTA CRS NO 2 ( SEMENTARA) |  | 33/11 kV |  |  |  | 0 | 0
257697720 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00001 | BTHO | PPU | PPU 33/11kV |  |  | PPU BANDAR TUN HUSSEIN ONN |  | 33/11 kV | 17/08/1996 |  |  | 15 | 0
257698378 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00003 | PPU SGLN | PPU | PPU 33/11kV |  |  | PPU SUNGAI LONG |  | 33/11 kV | 13/01/1996 |  |  | 14 | 0
257698961 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00002 | PPU MHCR | PPU | PPU 33/11kV |  |  | PPU BANDAR MAHKOTA CHERAS |  | 33/11 kV | 2003-03-08 |  | PPU | 19 | 0
257869061 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00006 | LMAS | PPU | PPU 33/11kV (SINGLE BUS) |  |  | PPU LAGENDA MAS |  | 33/11 kV | 31/08/2008 |  |  | 19 | 0
257878884 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00005 | TMASS | PPU | PPU 33/11kV |  |  | PPU SEMENTARA TAMAN MAS, ULU LANGAT |  | 33/11 kV | 2005-09-10 |  |  | 8 | 0
257879226 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00007 | JUBA | PPU | PPU 33/11kV |  |  | PPU JUSCO CHERAS (BALAKONG) |  | 33/11 kV | 29/07/2007 |  |  | 14 | 0
257884887 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00008 | TAMI | PPU | PPU 33/11kV |  |  | PPU TAMING JAYA |  | 33/11 kV | 1999-01-07 |  |  | 17 | 0
257916302 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00009 | MINE | PPU | PPU 33/11kV |  |  | PPU MINES |  | 33/11 kV | 1996-07-06 |  |  | 16 | 0
379559542 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/SSU/G00006 | SSU MRTCP | SSU | SSU SINGLE BUS + BUS SECTION 33 kV |  |  | SSU MRT TAMAN CEUPACS |  |  |  |  | SSU MRT TMN CEUPACS | 0 | 0
379851643 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00013 | PPU TSRA | PPU | PPU 33/11kV (SINGLE BUS) |  |  | PPU TAMAN SUTERA (T): Transformer 33/11 |  |  | 26/02/2015 |  |  | 0 | 0
381109676 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PMU/G00002 | PMU BLKG 132/33 kV | PMU | PMU 132/33kV (DOUBLE BUS) |  |  | PMU BALAKONG 132/33kV |  | 132/33 kV | 18/07/1998 |  |  | 0 | 0
381109876 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PMU/J00001 | PMU BLKG 132/11 kV | PMU | PMU 132/11 kV |  |  | PMU BALAKONG 132/11kV |  | 132/11 kV | 18/07/1998 |  |  | 0 | 0
381453196 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/SSU/G00001 | SLGT | SSU | SSU SINGLE BUS + BUS SECTION 33 kV |  |  | SSU LOJI AIR SUNGAI LANGAT |  | 33 kV | 1999-12-07 |  |  | 0 | 0
385485474 | TNB | DISTRIBUTION | CHERAS | Existing |  | SLGT 2 NO 1 | SSU | SSU SINGLE BUS + BUS SECTION 33 kV | [8 empty] | 0 | 0
385485598 | TNB | DISTRIBUTION | CHERAS | Existing |  | PMU MCRS | PMU | PMU 132/33kV (DOUBLE BUS) | [8 empty] | 0 | 0

## Output
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | Label | Category | Design | ERMS System Status | ERMS User Status | Name | Voltage In/Out | Voltage In/Out _Old_ | Date Commissioned | Remarks - JPKR | Remarks | Feeder Points | Transmission Circuits | Check | Detail
7702704 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00011 | PBEL | PPU | PPU 33/11kV |  |  | PPU BKT BELIMBING |  | 33/11 kV |  |  |  | 19 | 0 | Fail | null
28567982 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PMU/G00001 | CJYA | PMU | PMU 132/33/11 kV (DOUBLE BUS) |  |  | PMU CHERAS JAYA 132/33/11kV |  | 132/33 kV | 19890101 |  |  | 20 | 0 | Pass | null
59038206 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00012 | PPU MHCR2 | PPU | PPU 33/11kV |  |  | PPU MOBILE MAHKOTA CRS NO 2 ( SEMENTARA) |  | 33/11 kV |  |  |  | 0 | 0 | Fail | null
257697720 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00001 | BTHO | PPU | PPU 33/11kV |  |  | PPU BANDAR TUN HUSSEIN ONN |  | 33/11 kV | 17/08/1996 |  |  | 15 | 0 | Pass | null
257698378 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00003 | PPU SGLN | PPU | PPU 33/11kV |  |  | PPU SUNGAI LONG |  | 33/11 kV | 13/01/1996 |  |  | 14 | 0 | Pass | null
257698961 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00002 | PPU MHCR | PPU | PPU 33/11kV |  |  | PPU BANDAR MAHKOTA CHERAS |  | 33/11 kV | 20030308 |  | PPU | 19 | 0 | Pass | null
257869061 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00006 | LMAS | PPU | PPU 33/11kV (SINGLE BUS) |  |  | PPU LAGENDA MAS |  | 33/11 kV | 31/08/2008 |  |  | 19 | 0 | Pass | null
257878884 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00005 | TMASS | PPU | PPU 33/11kV |  |  | PPU SEMENTARA TAMAN MAS, ULU LANGAT |  | 33/11 kV | 20050910 |  |  | 8 | 0 | Pass | null
257879226 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00007 | JUBA | PPU | PPU 33/11kV |  |  | PPU JUSCO CHERAS (BALAKONG) |  | 33/11 kV | 29/07/2007 |  |  | 14 | 0 | Pass | null
257884887 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00008 | TAMI | PPU | PPU 33/11kV |  |  | PPU TAMING JAYA |  | 33/11 kV | 19990107 |  |  | 17 | 0 | Pass | null
257916302 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00009 | MINE | PPU | PPU 33/11kV |  |  | PPU MINES |  | 33/11 kV | 19960706 |  |  | 16 | 0 | Pass | null
379559542 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/SSU/G00006 | SSU MRTCP | SSU | SSU SINGLE BUS + BUS SECTION 33 kV |  |  | SSU MRT TAMAN CEUPACS |  |  |  |  | SSU MRT TMN CEUPACS | 0 | 0 | Fail | null
379851643 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00013 | PPU TSRA | PPU | PPU 33/11kV (SINGLE BUS) |  |  | PPU TAMAN SUTERA (T): Transformer 33/11 |  |  | 26/02/2015 |  |  | 0 | 0 | Fail | null
381109676 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PMU/G00002 | PMU BLKG 132/33 kV | PMU | PMU 132/33kV (DOUBLE BUS) |  |  | PMU BALAKONG 132/33kV |  | 132/33 kV | 18/07/1998 |  |  | 0 | 0 | Pass | null
381109876 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PMU/J00001 | PMU BLKG 132/11 kV | PMU | PMU 132/11 kV |  |  | PMU BALAKONG 132/11kV |  | 132/11 kV | 18/07/1998 |  |  | 0 | 0 | Pass | null
381453196 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/SSU/G00001 | SLGT | SSU | SSU SINGLE BUS + BUS SECTION 33 kV |  |  | SSU LOJI AIR SUNGAI LANGAT |  | 33 kV | 19991207 |  |  | 0 | 0 | Pass | null
385485474 | TNB | DISTRIBUTION | CHERAS | Existing |  | SLGT 2 NO 1 | SSU | SSU SINGLE BUS + BUS SECTION 33 kV | [8 empty] | 0 | 0 | Fail | null
385485598 | TNB | DISTRIBUTION | CHERAS | Existing |  | PMU MCRS | PMU | PMU 132/33kV (DOUBLE BUS) | [8 empty] | 0 | 0 | Fail | null