## Main Transformer
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | ERMS Equipment No | Label | Phasing | Substation Name | Demand Load | ERMS System Status | ERMS User Status | Voltage In [Old] | Voltage In/Out | Voltage Out [Old] | Manufacturer | Manufacturer [Old] | Capacity | Date Commissioned | Remarks | Main Transformer Units
13603990 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | CJYA-TX2-30MVA | RYB |  |  |  |  | 33 kV |  | 11 kV |  | POWER TRANSFORMER |  |  |  | 1
17167412 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00007/MATX2 | 300291599 | JUBA-TX2-2H0 | RYB | PPU JUSCO CHERAS (BALAKONG) |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 29/07/2007 |  | 1
28568457 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PMU/G00001/MATX2 | 300051521 | CJYA-TX2-30MVA | RYB | PMU CHERAS JAYA 132/33/11kV |  |  |  | 33 kV |  | 11 kV |  | POWER TRANSFORMER | 30.00 MVA | 1989-01-01 |  | 1
28568525 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PMU/G00001/MATX1 | 300051520 | CJYA-TX1-30MVA | RYB | PMU CHERAS JAYA 132/33/11kV |  |  |  | 33 kV |  | 11 kV |  | OTHERS | 30.00 MVA | 1989-01-01 |  | 1
41691446 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | SGLN-TX2-2H0 | RYB |  |  |  |  | 33 kV |  | 11 kV |  | OTHERS |  |  |  | 1
41691463 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | SGLN-TX1-1H0 | RYB |  |  |  |  | 33 kV |  | 11 kV |  | TAKOAKA |  |  |  | 1
51357319 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | TX1-PBEL | RYB | PPU BKT BELIMBING |  |  |  | 11 kV |  | 11 kV |  | MTM | 30.00 MVA |  |  | 5
59038864 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | TX1-MHCR2 | RYB | PPU MOBILE MAHKOTA CRS NO 2 ( SEMENTARA) |  |  |  | 33 kV |  | 11 kV |  | MTM |  |  | 30000 | 5
257697889 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00001/MATX2 | 300051577 | BTHO-TX2-2H0 | RYB | PPU BANDAR TUN HUSSEIN ONN |  |  |  | 33 kV |  | 11 kV |  | WILSON | 30.00 MVA | 17/08/1996 |  | 1
257697923 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00001/MATX1 | 300051576 | BTHO-TX1-1H0 | RYB | PPU BANDAR TUN HUSSEIN ONN |  |  |  | 33 kV |  | 11 kV |  | WILSON | 30.00 MVA | 17/08/1996 |  | 1
257698552 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00003/MATX2 | 300051568 | SGLN-TX2-2H0 | RYB | PPU SUNGAI LONG |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 13/01/1996 |  | 1
257698554 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00003/MATX1 | 300051567 | SGLN-TX1-1H0 | RYB | PPU SUNGAI LONG |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 13/01/1996 |  | 1
257699151 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00002/MATX2 | 300051550 | MHCR-TX2-2H0 | RYB | PPU BANDAR MAHKOTA CHERAS |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 2003-03-08 |  | 1
257699153 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00002/MATX1 | 300051549 | MHCR-TX1-1H0 | RYB | PPU BANDAR MAHKOTA CHERAS |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 2003-03-08 |  | 1
257879053 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00005/MATX1 | 300051585 | TMASS-TX2-2H0 | RYB | PPU SEMENTARA TAMAN MAS, ULU LANGAT |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 2005-09-10 |  | 1
257879516 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00007/MATX1 | 300291598 | JUBA-TX1-1H0 | RYB | PPU JUSCO CHERAS (BALAKONG) |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 29/07/2007 |  | 1
257885396 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00008/MATX1 | 300051573 | TAMI-TX1-1H0 | RYB | PPU TAMING JAYA |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 1999-01-07 |  | 1
257885398 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00008/MATX2 | 300051574 | TAMI-TX2-2H0 | RYB | PPU TAMING JAYA |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 1999-01-07 |  | 1
257916919 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00009/MATX1 | 300051552 | MINE-TX1-1H0 | RYB | PPU MINES |  |  |  | 33 kV |  | 11 kV |  | WILSON | 30.00 MVA | 1996-07-06 |  | 1
257916921 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00009/MATX2 | 300051553 | MINE-TX2-2H0 | RYB | PPU MINES |  |  |  | 33 kV |  | 11 kV |  | WILSON | 30.00 MVA | 1996-07-06 |  | 1
378559277 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | T2 | RYB | PPU BKT BELIMBING |  |  |  | 11 kV |  | 11 kV |  | MTM |  |  |  | 1
378559747 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00006/MATX2 | 300291597 | LMAS-TX2-2H0 | RYB | PPU LAGENDA MAS |  |  |  | 33 kV |  | Unknown |  | MTM | 30.00 MVA | 31/08/2008 |  | 1
378559749 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00006/MATX1 | 300291596 | LMAS-TX1-1H0 | RYB | PPU LAGENDA MAS |  |  |  | 33 kV |  | Unknown |  | MTM | 30.00 MVA | 31/08/2008 |  | 1
379851804 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | T2 | RYB | PPU TAMAN SUTERA (T): Transformer 33/11 |  |  |  | 11 kV |  | 11 kV | [5 empty] | 1
379851923 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | T1 | RYB | PPU TAMAN SUTERA (T): Transformer 33/11 |  |  |  | 11 kV |  | 11 kV | [5 empty] | 1

## Output
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | ERMS Equipment No | Label | Phasing | Substation Name | Demand Load | ERMS System Status | ERMS User Status | Voltage In _Old_ | Voltage In/Out | Voltage Out _Old_ | Manufacturer | Manufacturer _Old_ | Capacity | Date Commissioned | Remarks | Main Transformer Units | Check | Detail
13603990 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | CJYA-TX2-30MVA | RYB |  |  |  |  | 33 kV |  | 11 kV |  | POWER TRANSFORMER |  |  |  | 1 | Fail | Please check "VoltageIn/Out"
17167412 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00007/MATX2 | 300291599 | JUBA-TX2-2H0 | RYB | PPU JUSCO CHERAS (BALAKONG) |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 29/07/2007 |  | 1 | Fail | Please check "VoltageIn/Out"
28568457 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PMU/G00001/MATX2 | 300051521 | CJYA-TX2-30MVA | RYB | PMU CHERAS JAYA 132/33/11kV |  |  |  | 33 kV |  | 11 kV |  | POWER TRANSFORMER | 30.00 MVA | 19890101 |  | 1 | Fail | Please check "VoltageIn/Out"
28568525 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PMU/G00001/MATX1 | 300051520 | CJYA-TX1-30MVA | RYB | PMU CHERAS JAYA 132/33/11kV |  |  |  | 33 kV |  | 11 kV |  | OTHERS | 30.00 MVA | 19890101 |  | 1 | Fail | Please check "VoltageIn/Out"
41691446 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | SGLN-TX2-2H0 | RYB |  |  |  |  | 33 kV |  | 11 kV |  | OTHERS |  |  |  | 1 | Fail | Please check "VoltageIn/Out"
41691463 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | SGLN-TX1-1H0 | RYB |  |  |  |  | 33 kV |  | 11 kV |  | TAKOAKA |  |  |  | 1 | Fail | Please check "VoltageIn/Out"
51357319 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | TX1-PBEL | RYB | PPU BKT BELIMBING |  |  |  | 11 kV |  | 11 kV |  | MTM | 30.00 MVA |  |  | 5 | Fail | Please check "VoltageIn/Out"
59038864 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | TX1-MHCR2 | RYB | PPU MOBILE MAHKOTA CRS NO 2 ( SEMENTARA) |  |  |  | 33 kV |  | 11 kV |  | MTM |  |  | 30000 | 5 | Fail | Please check "VoltageIn/Out"
257697889 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00001/MATX2 | 300051577 | BTHO-TX2-2H0 | RYB | PPU BANDAR TUN HUSSEIN ONN |  |  |  | 33 kV |  | 11 kV |  | WILSON | 30.00 MVA | 17/08/1996 |  | 1 | Fail | Please check "VoltageIn/Out"
257697923 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00001/MATX1 | 300051576 | BTHO-TX1-1H0 | RYB | PPU BANDAR TUN HUSSEIN ONN |  |  |  | 33 kV |  | 11 kV |  | WILSON | 30.00 MVA | 17/08/1996 |  | 1 | Fail | Please check "VoltageIn/Out"
257698552 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00003/MATX2 | 300051568 | SGLN-TX2-2H0 | RYB | PPU SUNGAI LONG |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 13/01/1996 |  | 1 | Fail | Please check "VoltageIn/Out"
257698554 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00003/MATX1 | 300051567 | SGLN-TX1-1H0 | RYB | PPU SUNGAI LONG |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 13/01/1996 |  | 1 | Fail | Please check "VoltageIn/Out"
257699151 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00002/MATX2 | 300051550 | MHCR-TX2-2H0 | RYB | PPU BANDAR MAHKOTA CHERAS |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 20030308 |  | 1 | Fail | Please check "VoltageIn/Out"
257699153 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00002/MATX1 | 300051549 | MHCR-TX1-1H0 | RYB | PPU BANDAR MAHKOTA CHERAS |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 20030308 |  | 1 | Fail | Please check "VoltageIn/Out"
257879053 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00005/MATX1 | 300051585 | TMASS-TX2-2H0 | RYB | PPU SEMENTARA TAMAN MAS, ULU LANGAT |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 20050910 |  | 1 | Fail | Please check "VoltageIn/Out"
257879516 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00007/MATX1 | 300291598 | JUBA-TX1-1H0 | RYB | PPU JUSCO CHERAS (BALAKONG) |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 29/07/2007 |  | 1 | Fail | Please check "VoltageIn/Out"
257885396 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00008/MATX1 | 300051573 | TAMI-TX1-1H0 | RYB | PPU TAMING JAYA |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 19990107 |  | 1 | Fail | Please check "VoltageIn/Out"
257885398 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00008/MATX2 | 300051574 | TAMI-TX2-2H0 | RYB | PPU TAMING JAYA |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 19990107 |  | 1 | Fail | Please check "VoltageIn/Out"
257916919 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00009/MATX1 | 300051552 | MINE-TX1-1H0 | RYB | PPU MINES |  |  |  | 33 kV |  | 11 kV |  | WILSON | 30.00 MVA | 19960706 |  | 1 | Fail | Please check "VoltageIn/Out"
257916921 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00009/MATX2 | 300051553 | MINE-TX2-2H0 | RYB | PPU MINES |  |  |  | 33 kV |  | 11 kV |  | WILSON | 30.00 MVA | 19960706 |  | 1 | Fail | Please check "VoltageIn/Out"
378559277 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | T2 | RYB | PPU BKT BELIMBING |  |  |  | 11 kV |  | 11 kV |  | MTM |  |  |  | 1 | Fail | Please check "VoltageIn/Out"
378559747 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00006/MATX2 | 300291597 | LMAS-TX2-2H0 | RYB | PPU LAGENDA MAS |  |  |  | 33 kV |  | Unknown |  | MTM | 30.00 MVA | 31/08/2008 |  | 1 | Fail | Please check "VoltageIn/Out"
378559749 | TNB | DISTRIBUTION | CHERAS | Existing | BCRS/PPU/G00006/MATX1 | 300291596 | LMAS-TX1-1H0 | RYB | PPU LAGENDA MAS |  |  |  | 33 kV |  | Unknown |  | MTM | 30.00 MVA | 31/08/2008 |  | 1 | Fail | Please check "VoltageIn/Out"
379851804 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | T2 | RYB | PPU TAMAN SUTERA (T): Transformer 33/11 |  |  |  | 11 kV |  | 11 kV | [5 empty] | 1 | Fail | Please check "VoltageIn/Out"
379851923 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | T1 | RYB | PPU TAMAN SUTERA (T): Transformer 33/11 |  |  |  | 11 kV |  | 11 kV | [5 empty] | 1 | Fail | Please check "VoltageIn/Out"