## Auto Recloser
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | ERMS Equipment No | Phasing | Normal Status | Control Type | Current Rating | Impulse withstand Voltage | Insulation Type | Scada Type | Voltage Level | ERMS User Status | ERMS System Status | Label | Manufacturer [Old] | Manufacturer | Serial Number | Date Installed | Description | Circuit Tie | Remarks | Auto Recloser Units | Auto Recloser Controls | Making / Breaking Capacity (KA) | Shorttime Rating (KA/Sec) | Mounting | Location Description
376773001 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing |  |  | RYB | CLOSED | REMOTE | Unknown |  | SF6 | CONTROL | 33 kV |  |  | ARH27 | [5 empty] | False |  | 3 | 0
376773007 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing |  |  | RYB | CLOSED | REMOTE |  |  | SF6 | CONTROL | 33 kV |  |  | ARJ115 | [5 empty] | False |  | 3 | 0
376773022 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing |  |  | RYB | OPEN |  |  |  | SF6 |  | 33 kV |  |  | ARJ140 | [5 empty] | False |  | 3 | 0
376773026 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing |  |  | RYB | CLOSED |  |  |  | SF6 | CONTROL | 33 kV |  |  | ARF34 | [5 empty] | False |  | 3 | 0
376773038 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing |  |  | RYB | CLOSED | REMOTE |  |  | SF6 | CONTROL | 33 kV |  |  | ARG5 | [5 empty] | False |  | 3 | 0
376773046 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing |  |  | RYB | OPEN | REMOTE |  |  | SF6 | CONTROL | 33 kV |  |  | ARJ139 | [5 empty] | False |  | 3 | 0
376773054 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing |  |  | RYB | OPEN | REMOTE | Unknown |  | SF6 | CONTROL | 33 kV |  |  | ARJ137 | [5 empty] | False |  | 3 | 0
376773066 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing |  |  | RYB | OPEN | REMOTE |  |  | SF6 | CONTROL | 33 kV |  |  | ARJ121 | [5 empty] | False |  | 3 | 0
376773074 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing |  |  | RYB | CLOSED | REMOTE |  |  | SF6 | CONTROL | 33 kV |  |  | AR22 | [5 empty] | False |  | 3 | 0
376773082 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing |  |  | RYB | CLOSED | REMOTE |  |  | SF6 | CONTROL | 33 kV |  |  | ARJ64 | [5 empty] | False |  | 3 | 0
377292674 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing |  |  | RYB | OPEN | REMOTE |  |  | SF6 | CONTROL | 33 kV |  |  | AR J134 | [5 empty] | False |  | 3 | 0
377292823 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing |  |  | RYB | CLOSED | REMOTE |  |  | SF6 | CONTROL | 33 kV |  |  | AR J122 | [5 empty] | False |  | 3 | 0
377292831 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing |  |  | RYB | CLOSED | REMOTE |  |  | SF6 | CONTROL | 33 kV |  |  | AR J138 | [5 empty] | False |  | 3 | 0