## Main Transformer
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | ERMS Equipment No | Label | Phasing | Substation Name | Demand Load | ERMS System Status | ERMS User Status | Voltage In [Old] | Voltage In/Out | Voltage Out [Old] | Manufacturer | Manufacturer [Old] | Capacity | Date Commissioned | Remarks | Main Transformer Units
257701842 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing | BKSL/PMU/G00001/MATX2 | 300051620 | KSGR-TX2-2H0 | RYB | PMU KUALA SELANGOR 132/33/11kV |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 1980-01-03 |  | 1
257701844 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing | BKSL/PMU/G00001/MATX1 | 300051619 | KSGR-TX1-1H0 | RYB | PMU KUALA SELANGOR 132/33/11kV |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 1980-01-03 |  | 1
257932037 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing | BKSL/PPU/G00002/MATX1 | 300051624 | TKMI-TX1-1H0 | RYB | PPU TANJUNG KARANG |  |  |  | 33 kV |  | 11 kV |  | MTM | 15.00 MVA | 1972-01-06 |  | 1
257932039 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing | BKSL/PPU/G00002/MATX2 | 300051625 | TKMI-TX2-2H0 | RYB | PPU TANJUNG KARANG |  |  |  | 33 kV |  | 11 kV |  | MTM | 15.00 MVA | 1972-01-06 |  | 1
257950089 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing | BKSL/PPU/G00008/MATX2 | 300051746 | SDBY-TX2-2H0 | RYB | PPU SIME DARBY |  |  |  | 33 kV |  | 11 kV |  | MTM | 15.00 MVA | 1994-08-08 |  | 1
257950091 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing | BKSL/PPU/G00008/MATX1 | 300051745 | SDBY-TX1-1H0 | RYB | PPU SIME DARBY |  |  |  | 33 kV |  | 11 kV |  | MTM | 15.00 MVA | 1994-08-08 |  | 1
379692867 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing | BKSL/PMU/G00002/MATX2 | 300051714 | T2 | RYB | PMU BUKIT BADONG 132/33/11kV |  |  |  | 33 kV |  | 11 kV |  |  | 30.00 MVA | 22/06/2005 |  | 1
379693829 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing | BKSL/PMU/G00002/MATX1 | 300051713 | T1 | RYB | PMU BUKIT BADONG 132/33/11kV |  |  |  | 33 kV |  | 11 kV |  |  | 30.00 MVA | 22/06/2005 |  | 1
379761856 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing |  |  | T2 | RYB | PPU SEKINCHAN (M) |  |  |  | 11 kV |  | 11 kV | [5 empty] | 2
382359834 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing | BRWG/PCE/G00005/MATX1 | 300254870 | PENURUN | RYB | S/DOWN 33/11KV FISH POUND |  |  |  | 33 kV |  | 0.4 kV |  | MTM | 1.00 MVA | 21/01/1999 |  | 1
384274612 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing |  |  | T2 | RYB | PPU PLENTIFIELD 33/11kV |  |  |  | 11 kV |  | 11 kV | [5 empty] | 1
384274641 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing |  |  | T1 | RYB | PPU PLENTIFIELD 33/11kV |  |  |  | 11 kV |  | 11 kV | [5 empty] | 1

## Output
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | ERMS Equipment No | Label | Phasing | Substation Name | Demand Load | ERMS System Status | ERMS User Status | Voltage In _Old_ | Voltage In/Out | Voltage Out _Old_ | Manufacturer | Manufacturer _Old_ | Capacity | Date Commissioned | Remarks | Main Transformer Units | Check | Detail
257701842 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing | BKSL/PMU/G00001/MATX2 | 300051620 | KSGR-TX2-2H0 | RYB | PMU KUALA SELANGOR 132/33/11kV |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 19800103 |  | 1 | Fail | Please check "VoltageIn/Out"
257701844 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing | BKSL/PMU/G00001/MATX1 | 300051619 | KSGR-TX1-1H0 | RYB | PMU KUALA SELANGOR 132/33/11kV |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 19800103 |  | 1 | Fail | Please check "VoltageIn/Out"
257932037 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing | BKSL/PPU/G00002/MATX1 | 300051624 | TKMI-TX1-1H0 | RYB | PPU TANJUNG KARANG |  |  |  | 33 kV |  | 11 kV |  | MTM | 15.00 MVA | 19720106 |  | 1 | Fail | Please check "VoltageIn/Out"
257932039 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing | BKSL/PPU/G00002/MATX2 | 300051625 | TKMI-TX2-2H0 | RYB | PPU TANJUNG KARANG |  |  |  | 33 kV |  | 11 kV |  | MTM | 15.00 MVA | 19720106 |  | 1 | Fail | Please check "VoltageIn/Out"
257950089 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing | BKSL/PPU/G00008/MATX2 | 300051746 | SDBY-TX2-2H0 | RYB | PPU SIME DARBY |  |  |  | 33 kV |  | 11 kV |  | MTM | 15.00 MVA | 19940808 |  | 1 | Fail | Please check "VoltageIn/Out"
257950091 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing | BKSL/PPU/G00008/MATX1 | 300051745 | SDBY-TX1-1H0 | RYB | PPU SIME DARBY |  |  |  | 33 kV |  | 11 kV |  | MTM | 15.00 MVA | 19940808 |  | 1 | Fail | Please check "VoltageIn/Out"
379692867 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing | BKSL/PMU/G00002/MATX2 | 300051714 | T2 | RYB | PMU BUKIT BADONG 132/33/11kV |  |  |  | 33 kV |  | 11 kV |  |  | 30.00 MVA | 22/06/2005 |  | 1 | Fail | Please check "VoltageIn/Out"
379693829 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing | BKSL/PMU/G00002/MATX1 | 300051713 | T1 | RYB | PMU BUKIT BADONG 132/33/11kV |  |  |  | 33 kV |  | 11 kV |  |  | 30.00 MVA | 22/06/2005 |  | 1 | Fail | Please check "VoltageIn/Out"
379761856 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing |  |  | T2 | RYB | PPU SEKINCHAN (M) |  |  |  | 11 kV |  | 11 kV | [5 empty] | 2 | Fail | Please check "VoltageIn/Out"
382359834 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing | BRWG/PCE/G00005/MATX1 | 300254870 | PENURUN | RYB | S/DOWN 33/11KV FISH POUND |  |  |  | 33 kV |  | 0.4 kV |  | MTM | 1.00 MVA | 21/01/1999 |  | 1 | Fail | Please check "VoltageIn/Out"
384274612 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing |  |  | T2 | RYB | PPU PLENTIFIELD 33/11kV |  |  |  | 11 kV |  | 11 kV | [5 empty] | 1 | Fail | Please check "VoltageIn/Out"
384274641 | TNB | DISTRIBUTION | KUALA SELANGOR | Existing |  |  | T1 | RYB | PPU PLENTIFIELD 33/11kV |  |  |  | 11 kV |  | 11 kV | [5 empty] | 1 | Fail | Please check "VoltageIn/Out"