## PPU-SSU
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | Label | Category | Design | ERMS System Status | ERMS User Status | Name | Voltage In/Out | Voltage In/Out [Old] | Date Commissioned | Remarks - JPKR | Remarks | Feeder Points | Transmission Circuits
2091249 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/SSU/G00004 | SSU IDCB 33KV | SSU | SSU DOUBLE BUS 33 kV |  |  | SSU IDCB |  | 33 kV | 28/11/2011 |  |  | 0 | 0
15608896 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PPU/G00008 | PPU CYB9 | PPU | PPU (A) |  |  | PPU CYBERJAYA NO 9 |  | 33 kV | 22/11/2010 |  |  | 0 | 0
15608897 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/SSU/G00003 | SSU GOOGLE CYBERJAYA (CSF) | SSU | SSU DOUBLE BUS 33 kV |  |  | SSU GOOGLE |  | 33 kV | 2003-01-02 |  | SSU BARU | 0 | 0
15608898 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/SSU/G00005 | SSU MEGAJANA (DCP) | SSU | SSU SINGLE BUS + BUS SECTION 33 kV |  |  | SSU DCP1 MEGAJANA |  |  |  |  | SSU BARU | 0 | 0
15623703 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00023 | PPU PTJ23 | PPU | PPU 33/11kV |  |  | PPU PUTRAJAYA NO 23 |  |  |  |  | UG | 0 | 0
15895208 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00016 | PPU PTJ7 | PPU | PPU 33/11kV |  |  | PPU PUTRAJAYA NO 7 | [5 empty] | 0 | 0
257691071 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PPU/G00006 | PPU CYB6 | PPU |  |  |  | PPU CYBERJAYA NO 6 |  | 33 kV | 1999-01-07 |  | PAGAR BERKUNCI | 22 | 0
257691527 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/SSU/G00004 | SSU GDC2 | SSU | SSU DOUBLE BUS 33 kV |  |  | SSU GDC NO2 PUTRAJAYA |  | 33 kV | 2002-01-02 |  |  | 0 | 0
257740783 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00010 | PPU PTJ4 | PPU |  |  |  | PPU PUTRAJAYA NO 4 |  | 33 kV | 28/06/2001 |  |  | 20 | 0
257741277 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00012 | PPU PTJ6 | PPU |  |  |  | PPU PUTRAJAYA NO 6 |  | 33 kV | 1998-01-01 |  |  | 18 | 0
257741715 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00009 | PPU PTJ2 | PPU |  |  |  | PPU PUTRAJAYA NO 2 |  | 33 kV | 28/06/2001 |  |  | 20 | 0
257742410 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00015 | PPU PTJ24 | PPU |  |  |  | PPU PUTRAJAYA NO 24 |  | 33 kV | 2002-01-02 |  |  | 20 | 0
257877467 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/SSU/G00002 | SSU MMU CYBERJAYA | SSU | SSU SINGLE BUS + BUS SECTION 33 kV |  |  | SSU MMU CYBERJAYA |  | 33 kV | 2002-01-02 |  |  | 0 | 0
257886736 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00014 | PPU PTJ17 | PPU |  |  |  | PPU PUTRAJAYA NO17 |  | 33 kV | 2002-01-02 |  |  | 19 | 0
257915841 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00011 | PPU PTJ5 | PPU |  |  |  | PPU PUTRAJAYA NO 5 |  |  | 14/01/2000 |  |  | 23 | 0
257920052 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/SSU/G00003 | SSU GDC NO1 PUTRAJAYA | SSU | SSU SINGLE BUS + BUS SECTION 33 kV |  |  | SSU GDC NO1 PUTRAJAYA |  | 33 kV | 2002-01-02 |  |  | 0 | 0
257972173 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00013 | PPU PTJ13 | PPU |  |  |  | PPU PUTRAJAYA NO13 |  | 33 kV | 28/08/2008 |  |  | 15 | 0
257987016 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00008 | PPU PTJ1 | PPU |  |  |  | PPU PUTRAJAYA NO 1 |  | 33 kV | 1999-10-04 |  |  | 23 | 0
378099582 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PMU/G00003 | PMU PTJC | PMU | PMU 132/33/11 kV (SINGLE BUS) |  |  | PMU PUTRAJAYA CENTRAL 132/33/11 |  |  | 2011-09-05 |  |  | 0 | 0
378288518 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PPU/G00007 | PPU CYB7 | PPU | PPU 33/11kV |  |  | PPU CYBERJAYA NO 7 |  |  | 26/06/1997 |  |  | 0 | 0
379387782 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PMU/G00003 | PMU SRDG | PMU | PMU 132/33kV (DOUBLE BUS) |  |  | PMU SERDANG 132/33KV |  | 132/33 kV | 13/09/1990 |  | MAPSERVER BANGI | 0 | 0
381110829 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PMU/J00002 | PMU CBJN 132/11KV | PMU | PMU 132/11 kV |  |  | PMU CBJ NORTH 132/11KV |  |  | 2006-06-04 |  |  | 0 | 0
381111080 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PMU/G00002 | PMU CBJN 132/33KV | PMU | PMU 132/33kV (DOUBLE BUS) |  |  | PMU CBJ NORTH 132/33KV |  |  | 13/10/2004 |  |  | 0 | 0
384605868 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PMU/G00002 | PMU ABBA 132/33kV | PMU | PMU 132/33kV (DOUBLE BUS) |  |  | PMU DATO ABU BAKAR BAGINDA-ABBA 132/33KV |  |  | 29/03/2000 |  |  | 0 | 0
384607073 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PMU/J00002 | PMU ABBA 132/11kV | PMU | PMU 132/11 kV |  |  | PMU DATO ABU BAKAR BAGINDA-ABBA 33/11KV |  |  | 29/03/2000 |  |  | 0 | 0

## Output
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | Label | Category | Design | ERMS System Status | ERMS User Status | Name | Voltage In/Out | Voltage In/Out _Old_ | Date Commissioned | Remarks - JPKR | Remarks | Feeder Points | Transmission Circuits | Check | Detail
2091249 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/SSU/G00004 | SSU IDCB 33KV | SSU | SSU DOUBLE BUS 33 kV |  |  | SSU IDCB |  | 33 kV | 28/11/2011 |  |  | 0 | 0 | Pass | null
15608896 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PPU/G00008 | PPU CYB9 | PPU | PPU (A) |  |  | PPU CYBERJAYA NO 9 |  | 33 kV | 22/11/2010 |  |  | 0 | 0 | Pass | null
15608897 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/SSU/G00003 | SSU GOOGLE CYBERJAYA (CSF) | SSU | SSU DOUBLE BUS 33 kV |  |  | SSU GOOGLE |  | 33 kV | 20030102 |  | SSU BARU | 0 | 0 | Pass | null
15608898 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/SSU/G00005 | SSU MEGAJANA (DCP) | SSU | SSU SINGLE BUS + BUS SECTION 33 kV |  |  | SSU DCP1 MEGAJANA |  |  |  |  | SSU BARU | 0 | 0 | Pass | null
15623703 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00023 | PPU PTJ23 | PPU | PPU 33/11kV |  |  | PPU PUTRAJAYA NO 23 |  |  |  |  | UG | 0 | 0 | Pass | null
15895208 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00016 | PPU PTJ7 | PPU | PPU 33/11kV |  |  | PPU PUTRAJAYA NO 7 | [5 empty] | 0 | 0 | Pass | null
257691071 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PPU/G00006 | PPU CYB6 | PPU |  |  |  | PPU CYBERJAYA NO 6 |  | 33 kV | 19990107 |  | PAGAR BERKUNCI | 22 | 0 | Pass | null
257691527 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/SSU/G00004 | SSU GDC2 | SSU | SSU DOUBLE BUS 33 kV |  |  | SSU GDC NO2 PUTRAJAYA |  | 33 kV | 20020102 |  |  | 0 | 0 | Pass | null
257740783 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00010 | PPU PTJ4 | PPU |  |  |  | PPU PUTRAJAYA NO 4 |  | 33 kV | 28/06/2001 |  |  | 20 | 0 | Pass | null
257741277 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00012 | PPU PTJ6 | PPU |  |  |  | PPU PUTRAJAYA NO 6 |  | 33 kV | 19980101 |  |  | 18 | 0 | Pass | null
257741715 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00009 | PPU PTJ2 | PPU |  |  |  | PPU PUTRAJAYA NO 2 |  | 33 kV | 28/06/2001 |  |  | 20 | 0 | Pass | null
257742410 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00015 | PPU PTJ24 | PPU |  |  |  | PPU PUTRAJAYA NO 24 |  | 33 kV | 20020102 |  |  | 20 | 0 | Pass | null
257877467 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/SSU/G00002 | SSU MMU CYBERJAYA | SSU | SSU SINGLE BUS + BUS SECTION 33 kV |  |  | SSU MMU CYBERJAYA |  | 33 kV | 20020102 |  |  | 0 | 0 | Pass | null
257886736 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00014 | PPU PTJ17 | PPU |  |  |  | PPU PUTRAJAYA NO17 |  | 33 kV | 20020102 |  |  | 19 | 0 | Pass | null
257915841 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00011 | PPU PTJ5 | PPU |  |  |  | PPU PUTRAJAYA NO 5 |  |  | 14/01/2000 |  |  | 23 | 0 | Pass | null
257920052 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/SSU/G00003 | SSU GDC NO1 PUTRAJAYA | SSU | SSU SINGLE BUS + BUS SECTION 33 kV |  |  | SSU GDC NO1 PUTRAJAYA |  | 33 kV | 20020102 |  |  | 0 | 0 | Pass | null
257972173 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00013 | PPU PTJ13 | PPU |  |  |  | PPU PUTRAJAYA NO13 |  | 33 kV | 28/08/2008 |  |  | 15 | 0 | Pass | null
257987016 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00008 | PPU PTJ1 | PPU |  |  |  | PPU PUTRAJAYA NO 1 |  | 33 kV | 19991004 |  |  | 23 | 0 | Pass | null
378099582 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PMU/G00003 | PMU PTJC | PMU | PMU 132/33/11 kV (SINGLE BUS) |  |  | PMU PUTRAJAYA CENTRAL 132/33/11 |  |  | 20110905 |  |  | 0 | 0 | Pass | null
378288518 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PPU/G00007 | PPU CYB7 | PPU | PPU 33/11kV |  |  | PPU CYBERJAYA NO 7 |  |  | 26/06/1997 |  |  | 0 | 0 | Pass | null
379387782 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PMU/G00003 | PMU SRDG | PMU | PMU 132/33kV (DOUBLE BUS) |  |  | PMU SERDANG 132/33KV |  | 132/33 kV | 13/09/1990 |  | MAPSERVER BANGI | 0 | 0 | Pass | null
381110829 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PMU/J00002 | PMU CBJN 132/11KV | PMU | PMU 132/11 kV |  |  | PMU CBJ NORTH 132/11KV |  |  | 20060604 |  |  | 0 | 0 | Pass | null
381111080 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PMU/G00002 | PMU CBJN 132/33KV | PMU | PMU 132/33kV (DOUBLE BUS) |  |  | PMU CBJ NORTH 132/33KV |  |  | 13/10/2004 |  |  | 0 | 0 | Pass | null
384605868 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PMU/G00002 | PMU ABBA 132/33kV | PMU | PMU 132/33kV (DOUBLE BUS) |  |  | PMU DATO ABU BAKAR BAGINDA-ABBA 132/33KV |  |  | 29/03/2000 |  |  | 0 | 0 | Pass | null
384607073 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PMU/J00002 | PMU ABBA 132/11kV | PMU | PMU 132/11 kV |  |  | PMU DATO ABU BAKAR BAGINDA-ABBA 33/11KV |  |  | 29/03/2000 |  |  | 0 | 0 | Pass | null