## Earthing Electrode
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | ERMS Equipment No | Substation Name | Class | ERMS System Status | ERMS User Status | Label | Manufacturer | Manufacturer [Old] | Type | Type [Old] | Date Commissioned | Model Number | Remarks
257740933 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | PPU PUTRAJAYA NO 4 | NER 11 kV |  |  |  |  | Unknown |  | Unknown
257741640 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | PPU PUTRAJAYA NO 6 | NER 11 kV |  |  |  |  | Unknown |  | Unknown
257742650 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | PPU PUTRAJAYA NO 24 | NER 11 kV |  |  |  |  | Unknown |  | Unknown
257886986 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | PPU PUTRAJAYA NO17 | NER 11 kV |  |  |  |  | Unknown |  | DRY
257972297 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | PPU PUTRAJAYA NO13 | NER 11 kV |  |  |  |  | Unknown |  | Unknown
378099842 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | PMU PUTRAJAYA CENTRAL 132/33/11 | NER 11 kV
378289212 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | PPU CYBERJAYA NO 7 | NER 11 kV
379382001 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | PPU PUTRAJAYA NO 23 | NER 11 kV

## Output
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | ERMS Equipment No | Substation Name | Class | ERMS System Status | ERMS User Status | Label | Manufacturer | Manufacturer _Old_ | Type | Type _Old_ | Date Commissioned | Model Number | Remarks | Check | Detail
257740933 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | PPU PUTRAJAYA NO 4 | NER 11 kV |  |  |  |  | Unknown |  | Unknown |  |  |  | Pass | null
257741640 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | PPU PUTRAJAYA NO 6 | NER 11 kV |  |  |  |  | Unknown |  | Unknown |  |  |  | Pass | null
257742650 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | PPU PUTRAJAYA NO 24 | NER 11 kV |  |  |  |  | Unknown |  | Unknown |  |  |  | Pass | null
257886986 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | PPU PUTRAJAYA NO17 | NER 11 kV |  |  |  |  | Unknown |  | DRY |  |  |  | Pass | null
257972297 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | PPU PUTRAJAYA NO13 | NER 11 kV |  |  |  |  | Unknown |  | Unknown |  |  |  | Pass | null
378099842 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | PMU PUTRAJAYA CENTRAL 132/33/11 | NER 11 kV | [10 empty] | Pass | null
378289212 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | PPU CYBERJAYA NO 7 | NER 11 kV | [10 empty] | Pass | null
379382001 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | PPU PUTRAJAYA NO 23 | NER 11 kV | [10 empty] | Pass | null