## Main Transformer
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | ERMS Equipment No | Label | Phasing | Substation Name | Demand Load | ERMS System Status | ERMS User Status | Voltage In [Old] | Voltage In/Out | Voltage Out [Old] | Manufacturer | Manufacturer [Old] | Capacity | Date Commissioned | Remarks | Main Transformer Units
36096021 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PPU/G00008/MATX1 | 300433117 | T1 | RYB | PPU CYBERJAYA NO 9 |  |  |  | 33 kV |  | 11 kV |  | SHENYANG | 30.00 MVA | 22/11/2010 |  | 1
36096131 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PPU/G00008/MATX2 | 300433118 | T2 | RYB | PPU CYBERJAYA NO 9 |  |  |  | 33 kV |  | 11 kV |  | SHENYANG | 30.00 MVA | 22/11/2010 |  | 5
257691222 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PPU/G00006/MATX2 | 300278400 | CYB6-TX2-2H0 | RYB | PPU CYBERJAYA NO 6 |  |  |  | 33 kV |  | 11 kV |  | SHENYANG | 30.00 MVA | 1999-01-07 |  | 1
257691224 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PPU/G00006/MATX1 | 300278399 | CYB6-TX1-1H0 | RYB | PPU CYBERJAYA NO 6 |  |  |  | 33 kV |  | 11 kV |  | SHENYANG | 30.00 MVA | 1999-01-07 |  | 1
257740901 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00010/MATX2 | 300278412 | PTJ4-TX2-2H0 | RYB | PPU PUTRAJAYA NO 4 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 28/06/2001 |  | 1
257740903 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00010/MATX1 | 300278411 | PTJ4-TX1-1H0 | RYB | PPU PUTRAJAYA NO 4 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 28/06/2001 |  | 1
257741924 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00009/MATX2 | 300278409 | PTJ2-TX2-2H0 | RYB | PPU PUTRAJAYA NO 2 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 15/09/1998 |  | 1
257741926 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00009/MATX1 | 300278408 | PTJ2-TX1-1H0 | RYB | PPU PUTRAJAYA NO 2 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 15/09/1998 |  | 1
257742618 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00015/MATX2 | 300278427 | PJ24-TX2-2H0 | RYB | PPU PUTRAJAYA NO 24 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 2003-01-08 |  | 1
257742620 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00015/MATX1 | 300278426 | PJ24-TX1-1H0 | RYB | PPU PUTRAJAYA NO 24 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 2003-01-08 |  | 1
257886956 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00014/MATX1 | 300278423 | PJ17-TX1-1H0 | RYB | PPU PUTRAJAYA NO17 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 2002-02-02 |  | 1
257916015 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00011/MATX2 | 300278415 | PTJ5-TX2-2H0 | RYB | PPU PUTRAJAYA NO 5 |  |  |  | 33 kV |  | 11 kV |  | SHENYANG | 30.00 MVA | 14/11/2000 |  | 1
257916017 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00011/MATX1 | 300278414 | PTJ5-TX1-1H0 | RYB | PPU PUTRAJAYA NO 5 |  |  |  | 33 kV |  | 11 kV |  | SHENYANG | 30.00 MVA | 14/11/2000 |  | 1
257972265 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00013/MATX1 | 300278420 | TX 1 30MVA MTM | RYB | PPU PUTRAJAYA NO13 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 1998-01-01 |  | 1
257972267 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00013/MATX2 | 300278421 | TX 2 30MVA MTM | RYB | PPU PUTRAJAYA NO13 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 1998-01-01 |  | 1
257987514 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00008/MATX2 | 300278406 | PTJ1-TX2-2H0 | RYB | PPU PUTRAJAYA NO 1 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 1999-10-04 |  | 1
257987516 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00008/MATX1 | 300278405 | PTJ1-TX1-1H0 | RYB | PPU PUTRAJAYA NO 1 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 1999-10-04 |  | 1
378040186 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | T1 | RYB | PMU SUNGAI SEMENYIH 132/33/11kV |  |  |  | 33 kV |  | 11 kV | [5 empty] | 1
378040188 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | T2 | RYB | PMU SUNGAI SEMENYIH 132/33/11kV |  |  |  | 33 kV |  | 11 kV | [5 empty] | 1
378056642 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00014/MATX2 | 300278424 | PJ17-TX2-2H0 | RYB | PPU PUTRAJAYA NO17 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 2002-02-02 |  | 1
378090994 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00012/MATX2 | 300278418 | PTJ6-TX2-2H0 | RYB | PPU PUTRAJAYA NO 6 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 1998-01-01 |  | 1
378090996 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00012/MATX1 | 300278417 | PTJ6-TX1-1H0 | RYB | PPU PUTRAJAYA NO 6 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 1998-01-01 |  | 1
378100292 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | T1 | RYB | PMU PUTRAJAYA CENTRAL 132/33/11 |  |  |  | 33 kV |  | 11 kV | [5 empty] | 1
378100294 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | T2 | RYB | PMU PUTRAJAYA CENTRAL 132/33/11 |  |  |  | 33 kV |  | 11 kV | [5 empty] | 1
378289014 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PPU/G00007/MATX1 | 300278402 | T1 | RYB | PPU CYBERJAYA NO 7 |  |  |  | 33 kV |  | 11 kV |  | SHENYANG | 30.00 MVA | 26/06/1997 |  | 2
378289773 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PPU/G00007/MATX2 | 300278403 | T2 | RYB | PPU CYBERJAYA NO 7 |  |  |  | 33 kV |  | 11 kV |  | SHENYANG | 30.00 MVA | 26/06/1997 |  | 2
379379689 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | T1 | RYB | PPU PUTRAJAYA NO 7 |  |  |  | 11 kV |  | 11 kV | [5 empty] | 2
379380803 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | T2 | RYB | PPU PUTRAJAYA NO 7 |  |  |  | 11 kV |  | 11 kV | [5 empty] | 1
381111280 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | TX3-90MVA | RYB | PMU CBJ NORTH 132/33KV |  |  |  | 33 kV |  | 11 kV |  | POWER TRANSFORMER |  | 1989-01-01 |  | 1
381111282 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | TX4-90MVA | RYB | PMU CBJ NORTH 132/33KV |  |  |  | 33 kV |  | 11 kV |  | POWER TRANSFORMER |  | 1989-01-01 |  | 1
381111284 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | TX1-30MVA | RYB | PMU CBJ NORTH 132/11KV |  |  |  | 33 kV |  | 11 kV |  | POWER TRANSFORMER |  | 1989-01-01 |  | 1
381111286 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | TX2-30MVA | RYB | PMU CBJ NORTH 132/11KV |  |  |  | 33 kV |  | 11 kV |  | POWER TRANSFORMER |  | 1989-01-01 |  | 1
383338298 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00023/MATX1 | 300519613 | T1 | RYB | PPU PUTRAJAYA NO 23 |  |  |  | Unknown |  | Unknown |  | MTM |  | 2015-04-07 |  | 1
383338300 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00023/MATX2 | 300519614 | T2 | RYB | PPU PUTRAJAYA NO 23 |  |  |  | Unknown |  | Unknown |  | MTM |  | 2015-04-07 |  | 1

## Output
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | ERMS Equipment No | Label | Phasing | Substation Name | Demand Load | ERMS System Status | ERMS User Status | Voltage In _Old_ | Voltage In/Out | Voltage Out _Old_ | Manufacturer | Manufacturer _Old_ | Capacity | Date Commissioned | Remarks | Main Transformer Units | Check | Detail
36096021 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PPU/G00008/MATX1 | 300433117 | T1 | RYB | PPU CYBERJAYA NO 9 |  |  |  | 33 kV |  | 11 kV |  | SHENYANG | 30.00 MVA | 22/11/2010 |  | 1 | Fail | Please check "VoltageIn/Out"
36096131 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PPU/G00008/MATX2 | 300433118 | T2 | RYB | PPU CYBERJAYA NO 9 |  |  |  | 33 kV |  | 11 kV |  | SHENYANG | 30.00 MVA | 22/11/2010 |  | 5 | Fail | Please check "VoltageIn/Out"
257691222 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PPU/G00006/MATX2 | 300278400 | CYB6-TX2-2H0 | RYB | PPU CYBERJAYA NO 6 |  |  |  | 33 kV |  | 11 kV |  | SHENYANG | 30.00 MVA | 19990107 |  | 1 | Fail | Please check "VoltageIn/Out"
257691224 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PPU/G00006/MATX1 | 300278399 | CYB6-TX1-1H0 | RYB | PPU CYBERJAYA NO 6 |  |  |  | 33 kV |  | 11 kV |  | SHENYANG | 30.00 MVA | 19990107 |  | 1 | Fail | Please check "VoltageIn/Out"
257740901 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00010/MATX2 | 300278412 | PTJ4-TX2-2H0 | RYB | PPU PUTRAJAYA NO 4 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 28/06/2001 |  | 1 | Fail | Please check "VoltageIn/Out"
257740903 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00010/MATX1 | 300278411 | PTJ4-TX1-1H0 | RYB | PPU PUTRAJAYA NO 4 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 28/06/2001 |  | 1 | Fail | Please check "VoltageIn/Out"
257741924 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00009/MATX2 | 300278409 | PTJ2-TX2-2H0 | RYB | PPU PUTRAJAYA NO 2 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 15/09/1998 |  | 1 | Fail | Please check "VoltageIn/Out"
257741926 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00009/MATX1 | 300278408 | PTJ2-TX1-1H0 | RYB | PPU PUTRAJAYA NO 2 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 15/09/1998 |  | 1 | Fail | Please check "VoltageIn/Out"
257742618 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00015/MATX2 | 300278427 | PJ24-TX2-2H0 | RYB | PPU PUTRAJAYA NO 24 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 20030108 |  | 1 | Fail | Please check "VoltageIn/Out"
257742620 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00015/MATX1 | 300278426 | PJ24-TX1-1H0 | RYB | PPU PUTRAJAYA NO 24 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 20030108 |  | 1 | Fail | Please check "VoltageIn/Out"
257886956 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00014/MATX1 | 300278423 | PJ17-TX1-1H0 | RYB | PPU PUTRAJAYA NO17 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 20020202 |  | 1 | Fail | Please check "VoltageIn/Out"
257916015 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00011/MATX2 | 300278415 | PTJ5-TX2-2H0 | RYB | PPU PUTRAJAYA NO 5 |  |  |  | 33 kV |  | 11 kV |  | SHENYANG | 30.00 MVA | 14/11/2000 |  | 1 | Fail | Please check "VoltageIn/Out"
257916017 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00011/MATX1 | 300278414 | PTJ5-TX1-1H0 | RYB | PPU PUTRAJAYA NO 5 |  |  |  | 33 kV |  | 11 kV |  | SHENYANG | 30.00 MVA | 14/11/2000 |  | 1 | Fail | Please check "VoltageIn/Out"
257972265 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00013/MATX1 | 300278420 | TX 1 30MVA MTM | RYB | PPU PUTRAJAYA NO13 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 19980101 |  | 1 | Fail | Please check "VoltageIn/Out"
257972267 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00013/MATX2 | 300278421 | TX 2 30MVA MTM | RYB | PPU PUTRAJAYA NO13 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 19980101 |  | 1 | Fail | Please check "VoltageIn/Out"
257987514 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00008/MATX2 | 300278406 | PTJ1-TX2-2H0 | RYB | PPU PUTRAJAYA NO 1 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 19991004 |  | 1 | Fail | Please check "VoltageIn/Out"
257987516 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00008/MATX1 | 300278405 | PTJ1-TX1-1H0 | RYB | PPU PUTRAJAYA NO 1 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 19991004 |  | 1 | Fail | Please check "VoltageIn/Out"
378040186 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | T1 | RYB | PMU SUNGAI SEMENYIH 132/33/11kV |  |  |  | 33 kV |  | 11 kV | [5 empty] | 1 | Fail | Please check "VoltageIn/Out"
378040188 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | T2 | RYB | PMU SUNGAI SEMENYIH 132/33/11kV |  |  |  | 33 kV |  | 11 kV | [5 empty] | 1 | Fail | Please check "VoltageIn/Out"
378056642 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00014/MATX2 | 300278424 | PJ17-TX2-2H0 | RYB | PPU PUTRAJAYA NO17 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 20020202 |  | 1 | Fail | Please check "VoltageIn/Out"
378090994 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00012/MATX2 | 300278418 | PTJ6-TX2-2H0 | RYB | PPU PUTRAJAYA NO 6 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 19980101 |  | 1 | Fail | Please check "VoltageIn/Out"
378090996 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00012/MATX1 | 300278417 | PTJ6-TX1-1H0 | RYB | PPU PUTRAJAYA NO 6 |  |  |  | 33 kV |  | 11 kV |  | MTM | 30.00 MVA | 19980101 |  | 1 | Fail | Please check "VoltageIn/Out"
378100292 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | T1 | RYB | PMU PUTRAJAYA CENTRAL 132/33/11 |  |  |  | 33 kV |  | 11 kV | [5 empty] | 1 | Fail | Please check "VoltageIn/Out"
378100294 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | T2 | RYB | PMU PUTRAJAYA CENTRAL 132/33/11 |  |  |  | 33 kV |  | 11 kV | [5 empty] | 1 | Fail | Please check "VoltageIn/Out"
378289014 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PPU/G00007/MATX1 | 300278402 | T1 | RYB | PPU CYBERJAYA NO 7 |  |  |  | 33 kV |  | 11 kV |  | SHENYANG | 30.00 MVA | 26/06/1997 |  | 2 | Fail | Please check "VoltageIn/Out"
378289773 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VCBJ/PPU/G00007/MATX2 | 300278403 | T2 | RYB | PPU CYBERJAYA NO 7 |  |  |  | 33 kV |  | 11 kV |  | SHENYANG | 30.00 MVA | 26/06/1997 |  | 2 | Fail | Please check "VoltageIn/Out"
379379689 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | T1 | RYB | PPU PUTRAJAYA NO 7 |  |  |  | 11 kV |  | 11 kV | [5 empty] | 2 | Fail | Please check "VoltageIn/Out"
379380803 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | T2 | RYB | PPU PUTRAJAYA NO 7 |  |  |  | 11 kV |  | 11 kV | [5 empty] | 1 | Fail | Please check "VoltageIn/Out"
381111280 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | TX3-90MVA | RYB | PMU CBJ NORTH 132/33KV |  |  |  | 33 kV |  | 11 kV |  | POWER TRANSFORMER |  | 19890101 |  | 1 | Fail | Please check "VoltageIn/Out"
381111282 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | TX4-90MVA | RYB | PMU CBJ NORTH 132/33KV |  |  |  | 33 kV |  | 11 kV |  | POWER TRANSFORMER |  | 19890101 |  | 1 | Fail | Please check "VoltageIn/Out"
381111284 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | TX1-30MVA | RYB | PMU CBJ NORTH 132/11KV |  |  |  | 33 kV |  | 11 kV |  | POWER TRANSFORMER |  | 19890101 |  | 1 | Fail | Please check "VoltageIn/Out"
381111286 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing |  |  | TX2-30MVA | RYB | PMU CBJ NORTH 132/11KV |  |  |  | 33 kV |  | 11 kV |  | POWER TRANSFORMER |  | 19890101 |  | 1 | Fail | Please check "VoltageIn/Out"
383338298 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00023/MATX1 | 300519613 | T1 | RYB | PPU PUTRAJAYA NO 23 |  |  |  | Unknown |  | Unknown |  | MTM |  | 20150407 |  | 1 | Fail | Please check "VoltageIn/Out"
383338300 | TNB | DISTRIBUTION | WP PUTRAJAYA & CYBERJAYA | Existing | VPTJ/PPU/G00023/MATX2 | 300519614 | T2 | RYB | PPU PUTRAJAYA NO 23 |  |  |  | Unknown |  | Unknown |  | MTM |  | 20150407 |  | 1 | Fail | Please check "VoltageIn/Out"