## Auto Recloser
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | ERMS Equipment No | Phasing | Normal Status | Control Type | Current Rating | Impulse withstand Voltage | Insulation Type | Scada Type | Voltage Level | ERMS User Status | ERMS System Status | Label | Manufacturer [Old] | Manufacturer | Serial Number | Date Installed | Description | Circuit Tie | Remarks | Auto Recloser Units | Auto Recloser Controls | Making / Breaking Capacity (KA) | Shorttime Rating (KA/Sec) | Mounting | Location Description
377292633 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | RYB | CLOSED | REMOTE |  |  | SF6 | CONTROL |  |  |  | AR J108 | [5 empty] | False |  | 3 | 0
377292637 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | RYB | CLOSED | REMOTE |  |  | SF6 | CONTROL | 33 kV |  |  | AR J119 | [5 empty] | False |  | 3 | 0
377292646 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | RYB | CLOSED | REMOTE |  |  | SF6 | CONTROL | 33 kV |  |  | AR H98 | [5 empty] | False |  | 3 | 0
377292655 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | RYB | CLOSED | REMOTE |  |  | SF6 | CONTROL | 33 kV |  |  | AR H41 | [5 empty] | False |  | 3 | 0
377292801 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | RYB | CLOSED | REMOTE |  |  | SF6 | CONTROL | 33 kV |  |  | AR J133 | [5 empty] | False |  | 3 | 0
377292810 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | RYB | CLOSED | REMOTE |  |  | SF6 | CONTROL | 33 kV |  |  | AR J135 | [5 empty] | False |  | 3 | 0