## PPU-SSU
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | Label | Category | Design | ERMS System Status | ERMS User Status | Name | Voltage In/Out | Voltage In/Out [Old] | Date Commissioned | Remarks - JPKR | Remarks | Feeder Points | Transmission Circuits
257701013 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001 | PPU SGLG | PPU |  |  |  | PPU SUNGAI LANG |  | 33 kV | 2008-01-05 |  |  | 19 | 0
379383606 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00002 | PPU SGBR | PPU | PPU 33/11kV |  |  | PPU SUNGAI BESAR |  |  | 1980-01-09 |  |  | 0 | 0
379550130 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003 | PPU SBNM | PPU | PPU 33/11kV |  |  | PPU SABAK BERNAM |  |  | 1986-01-06 |  |  | 0 | 0
381195839 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001 | PMU SBSR 132/11kV | PMU | PMU 132/11 kV |  |  | PMU SUNGAI BESAR 132/11kV |  |  | 2004-11-09 |  |  | 0 | 0
381196090 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001 | PMU SBSR 132/33 kV | PMU | PMU 132/33kV (DOUBLE BUS) |  |  | PMU SG BESAR 132/33 kV |  |  | 2004-11-09 |  |  | 0 | 0
383312694 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PCE/J00003 | PENURUN KG.TALIAIR DUA, L772 | STEP DOWN 33/11 kV | PPU PENURUN CB - RMU |  |  | SW/STN T/AIR 11 BAN 1 SG NIBONG |  | 33/11 kV | 1987-06-08 |  | PENURUN 33/11kV | 0 | 0

## Output
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | Label | Category | Design | ERMS System Status | ERMS User Status | Name | Voltage In/Out | Voltage In/Out _Old_ | Date Commissioned | Remarks - JPKR | Remarks | Feeder Points | Transmission Circuits | Check | Detail
257701013 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001 | PPU SGLG | PPU |  |  |  | PPU SUNGAI LANG |  | 33 kV | 2008-01-05 |  |  | 19 | 0 | Pass | null
379383606 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00002 | PPU SGBR | PPU | PPU 33/11kV |  |  | PPU SUNGAI BESAR |  |  | 1980-01-09 |  |  | 0 | 0 | Pass | null
379550130 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003 | PPU SBNM | PPU | PPU 33/11kV |  |  | PPU SABAK BERNAM |  |  | 1986-01-06 |  |  | 0 | 0 | Pass | null
381195839 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001 | PMU SBSR 132/11kV | PMU | PMU 132/11 kV |  |  | PMU SUNGAI BESAR 132/11kV |  |  | 2004-11-09 |  |  | 0 | 0 | Pass | null
381196090 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001 | PMU SBSR 132/33 kV | PMU | PMU 132/33kV (DOUBLE BUS) |  |  | PMU SG BESAR 132/33 kV |  |  | 2004-11-09 |  |  | 0 | 0 | Pass | null
383312694 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PCE/J00003 | PENURUN KG.TALIAIR DUA, L772 | STEP DOWN 33/11 kV | PPU PENURUN CB - RMU |  |  | SW/STN T/AIR 11 BAN 1 SG NIBONG |  | 33/11 kV | 1987-06-08 |  | PENURUN 33/11kV | 0 | 0 | Pass | null