## Circuit Breaker
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | ERMS Equipment No | Operating Voltage | Normal Status | Insulation Type | Feeder Label | Substation Name | Mnemonics | ERMS System Status | ERMS User Status | Breaker No. | Date Commissioned | Manufacturer | Manufacturer [Old] | Model Number | Rated Current | Feeder Direction | Remarks
257701142 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN | VACUUM | SGLG-16 | PPU SUNGAI LANG | [6 empty] | ITEM | 8BK-88 K16 | 630.000 A | SPARE16(SGLG)
257701143 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN | VACUUM | SGLG-14 | PPU SUNGAI LANG | [6 empty] | ITEM | 8BK-88 K14 | 630.000 A | SPARE14(SGLG)
257701169 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN | VACUUM | SGLG-8 | PPU SUNGAI LANG | [6 empty] | ITEM | 8BK-88 K08 | 630.000 A | SPARE8(SGLG)
257701170 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN | VACUUM | SGLG-10 | PPU SUNGAI LANG | [6 empty] | ITEM | 8BK-88 K10 | 630.000 A | SPARE10(SGLG)
257701171 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN | VACUUM | SGLG-12 | PPU SUNGAI LANG | [6 empty] | ITEM | 8BK-88 K12 | 630.000 A | SPARE12(SGLG)
257701225 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/NB4 | 300259593 | 11 kV | CLOSED | VACUUM | SGLG-4 | PPU SUNGAI LANG |  |  |  | 4 | 2008-01-05 |  | ABB | ABB | 630.000 A | FEEDER 11KV
257701226 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/NB6 | 300259595 | 11 kV | OPEN | VACUUM | SGLG-6 | PPU SUNGAI LANG |  |  |  | 6 | 2008-01-05 |  | ABB | ABB | 630.000 A | FEEDER 11KV
257701227 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/MB4P5 | 300259586 | Unknown | OPEN | GAS | SGLG-4 | PPU SUNGAI LANG |  |  |  | 4P5 | 2008-01-05 |  | ITEM | ITEM SIEMENS | 1250.000 A | FEEDER 33KV
257701264 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/MB2HO | 300259583 | 33 kV | CLOSED | GAS | SGLG-2H0 | PPU SUNGAI LANG |  |  |  | 2HO | 2008-01-05 |  | ITEM | ITEM SIEMENS | 2000.000 A | TRANSFORMER 2
257701314 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/NB32 | 300259592 | 11 kV | CLOSED | GAS | SGLG-32 | PPU SUNGAI LANG |  |  |  | 32 | 2008-01-05 |  | ABB | ABB | 2000.000 A | INCOMER NO.2
257701315 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/NB2 | 300259588 | 11 kV | OPEN | VACUUM | SGLG-2 | PPU SUNGAI LANG |  |  |  | 2 | 2008-01-05 |  | ABB | ABB | 630.000 A | FEEDER 11KV
257701404 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/MB1HO | 300259581 | 33 kV | CLOSED | GAS | SGLG-1H0 | PPU SUNGAI LANG |  |  |  | 1HO | 2008-01-05 |  | ITEM | ITEM SIEMENS | 2000.000 A | TRANSFORMER 1
257701405 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/MB1P5 | 300259582 | Unknown | CLOSED | GAS | SGLG-1 | PPU SUNGAI LANG |  |  |  | 1P5 | 2008-01-05 |  | ITEM | ITEM SIEMENS | 1250.000 A | FEEDER 33KV
257701433 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/MB3P5 | 300259585 | Unknown | OPEN | GAS | SGLG-3 | PPU SUNGAI LANG |  |  |  | 3P5 | 2008-01-05 |  | ITEM | ITEM SIEMENS | 1250.000 A | FEEDER 33KV
257701434 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/NB31 | 300259591 | 11 kV | CLOSED | VACUUM | SGLG-31 | PPU SUNGAI LANG |  |  |  | 31 | 2008-01-05 |  | ABB | ABB | 2000.000 A | INCOMER NO.1
257701491 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN | VACUUM | SGLG-9 | PPU SUNGAI LANG | [6 empty] | ITEM | 8BK-88 K09 | 630.000 A | SPARE9(SGLG)
257701492 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN | VACUUM | SGLG-11 | PPU SUNGAI LANG | [6 empty] | ITEM | 8BK-88 K11 | 630.000 A | SPARE11(SGLG)
257701493 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/NB13 | 300260902 | 11 kV | CLOSED | VACUUM | SGLG-13 | PPU SUNGAI LANG |  |  |  | 13 | 2008-01-05 |  | ABB | ABB | 630.000 A | FEEDER 11KV
257701522 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/NB5 | 300259594 | 11 kV | OPEN | VACUUM | SGLG-5 | PPU SUNGAI LANG |  |  |  | 5 | 2008-01-05 |  | ABB | ABB | 630.000 A | FEEDER 11KV
257701523 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN | VACUUM | SGLG-7 | PPU SUNGAI LANG | [6 empty] | ITEM | 8BK-88 K07 | 630.000 A | SPARE7(SGLG)
257701524 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/NB1 | 300259587 | 11 kV | CLOSED | VACUUM | SGLG-1 | PPU SUNGAI LANG |  |  |  | 1 | 2008-01-05 |  | ABB | ABB | 630.000 A | FEEDER 11KV
257701525 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/NB3 | 300259589 | 11 kV | OPEN | VACUUM | SGLG-3 | PPU SUNGAI LANG |  |  |  | 3 | 2008-01-05 |  | ABB | ABB | 630.000 A | FEEDER 11KV
257701580 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/MB2P5 | 300259584 | Unknown | OPEN | GAS | SGLG-2 | PPU SUNGAI LANG |  |  |  | 2P5 | 2008-01-05 |  | ITEM | ITEM SIEMENS | 1250.000 A | FEEDER 33KV
379383660 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00002/NB31 | 300051030 | 11 kV | CLOSED |  |  | PPU SUNGAI BESAR |  |  |  | 31 | 1980-01-09 |  | AICHI | AICHI | 2000.000 A | INCOMER NO.1
379383765 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00002/NB5 | 300051033 | 33 kV | CLOSED |  |  | PPU SUNGAI BESAR |  |  |  | 5 | 1980-01-09 |  | AICHI | AICHI | 630.000 A | FEEDER 11KV
379383991 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 33 kV | CLOSED |  |  | PPU SUNGAI BESAR
379384006 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN |  |  | PPU SUNGAI BESAR
379384162 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 33 kV | CLOSED |  |  | PPU SUNGAI BESAR
379384276 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00002/NB3 | 300051028 | 11 kV | CLOSED |  |  | PPU SUNGAI BESAR |  |  |  | 3 | 1980-01-09 |  | AICHI | AICHI | 630.000 A | FEEDER 11KV
379384357 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00002/MB1HO | 300051024 | 33 kV | CLOSED |  |  | PPU SUNGAI BESAR |  |  |  | 1HO | 1980-01-09 |  |  | GCB | 2000.000 A | TRANSFORMER 1
379384496 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00002/NB1 | 300051026 | 11 kV | CLOSED |  |  | PPU SUNGAI BESAR |  |  |  | 1 | 1980-01-09 |  | AICHI | AICHI | 630.000 A | FEEDER 11KV
379384519 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN |  |  | PPU SUNGAI BESAR
379384900 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN |  |  | PPU SUNGAI BESAR
379384902 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN |  |  | PPU SUNGAI BESAR
379397796 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | CLOSED | VACUUM | D00480 | S/S POLITEKNIK SABAK BERNAM
379397798 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | CLOSED | VACUUM | D00478 | S/S POLITEKNIK SABAK BERNAM
379397823 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | CLOSED | VACUUM | D00479 | S/S POLITEKNIK SABAK BERNAM
379397851 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | CLOSED | VACUUM | D00482 | S/S POLITEKNIK SABAK BERNAM
379397965 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PCE/J00166/MB03 | 310344082 | 11 kV | CLOSED | VACUUM |  | P/E SEK AGAMA SUNGAI LANG |  |  |  | 4 |  |  |  |  | 630.000 A | SEKOLAH AGAMA SG LANG
379397989 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PCE/J00166/MB | 300040507 | 11 kV | CLOSED | VACUUM |  | P/E SEK AGAMA SUNGAI LANG |  |  |  | 4 | 20/10/2010 |  |  | HICLAD | 630.000 A | SEKOLAH AGAMA SG LANG
379397990 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PCE/J00166/MB02 | 310344081 | 11 kV | CLOSED | VACUUM |  | P/E SEK AGAMA SUNGAI LANG |  |  |  | 4 |  |  |  |  | 630.000 A | SEKOLAH AGAMA SG LANG
379550184 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/NB31 | 300051042 | 11 kV | CLOSED | VACUUM |  | PPU SABAK BERNAM |  |  |  | 31 | 1986-01-06 |  | TAMCO | VH1D | 2000.000 A | INCOMER NO.1
379550289 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/NB5 | 300051045 | 33 kV | CLOSED | VACUUM |  | PPU SABAK BERNAM |  |  |  | 5 | 1986-01-06 |  | TAMCO | VH1D | 630.000 A | FEEDER 11KV
379550293 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/NB6 | 300051046 | 11 kV | CLOSED | VACUUM |  | PPU SABAK BERNAM |  |  |  | 6 | 1986-01-06 |  | TAMCO | VH1D | 630.000 A | FEEDER 11KV
379550515 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 33 kV | CLOSED |  |  | PPU SABAK BERNAM
379550601 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/NB8 | 300051047 | 11 kV | CLOSED | VACUUM |  | PPU SABAK BERNAM |  |  |  | 8 | 1986-01-06 |  | TAMCO | VH1D | 630.000 A | FEEDER 11KV
379550690 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/MB2HO | 300051037 | 33 kV | CLOSED | VACUUM |  | PPU SABAK BERNAM |  |  |  | 2HO | 1986-01-06 |  |  | GCB | 2000.000 A | TRANSFORMER 2
379550778 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/NB32 | 300051043 | 11 kV | CLOSED | VACUUM |  | PPU SABAK BERNAM |  |  |  | 32 | 1986-01-06 |  | TAMCO | VH1D | 2000.000 A | INCOMER NO.2
379550800 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/NB3 | 300051040 | 11 kV | CLOSED | VACUUM |  | PPU SABAK BERNAM |  |  |  | 3 | 1986-01-06 |  | TAMCO | VH1D | 630.000 A | FEEDER 11KV
379688428 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/NB1 | 300051038 | 11 kV | CLOSED | VACUUM |  | PPU SABAK BERNAM |  |  |  | 1 | 1986-01-06 |  | TAMCO | VH1D | 630.000 A | FEEDER 11KV
379688874 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/NB4 | 300051044 | 11 kV | CLOSED | VACUUM |  | PPU SABAK BERNAM |  |  |  | 4 | 1986-01-06 |  | TAMCO | VH1D | 630.000 A | FEEDER 11KV
379689026 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/NB2 | 300051039 | 11 kV | CLOSED | VACUUM |  | PPU SABAK BERNAM |  |  |  | 2 | 1986-01-06 |  | TAMCO | VH1D | 630.000 A | FEEDER 11KV
381028859 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | CLOSED | VACUUM | D06734 | P/E LOJI AIR PARIT 16 JLN SG PANJANG | [9 empty] | PENGGUNA HT
381028874 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | CLOSED | VACUUM | D06733 | P/E LOJI AIR PARIT 16 JLN SG PANJANG | [9 empty] | D00242 MASJID PT 14 SG PANJANG
381028876 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | CLOSED | VACUUM | D06735 | P/E LOJI AIR PARIT 16 JLN SG PANJANG | [9 empty] | D00244 S/LINK PRT 16 SG PANJANG
381195877 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB3 | 300051017 | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV |  |  |  | 3 | 2004-11-09 |  | EPE | VJ-32 | 1250.000 A | FEEDER 11KV
381195878 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB12 |  | 11 kV | OPEN | VACUUM | SPARE | PMU SUNGAI BESAR 132/11kV
381195926 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB32 | 300051020 | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV |  |  |  | 32 | 2004-11-09 |  | EPE | VJ-32 | 2000.000 A | INCOMER NO.2
381195950 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB14 |  | 11 kV | OPEN | VACUUM | SPARE | PMU SUNGAI BESAR 132/11kV
381195956 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB9 |  | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV | [9 empty] | D06770 PE BIN DAWOOD
381195969 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB10 |  | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV | [9 empty] | D00728 PE KILANG BERAS
381195973 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB1 | 300051015 | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV |  |  |  | 1 | 2004-11-09 |  | EPE | VJ-32 | 1250.000 A | FEEDER 11KV
381195974 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB13 |  | 11 kV | OPEN | VACUUM | SPARE | PMU SUNGAI BESAR 132/11kV
381195981 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB5 | 300051022 | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV |  |  |  | 5 | 2004-11-09 |  | EPE | VJ-32 | 1250.000 A | FEEDER 11KV
381195986 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB2 | 300051016 | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV |  |  |  | 2 | 2004-11-09 |  | EPE | VJ-32 | 1250.000 A | FEEDER 11KV
381196030 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB8 |  | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV
381196036 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB4 | 300051021 | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV |  |  |  | 4 | 2004-11-09 |  | EPE | VJ-32 | 1250.000 A | FEEDER 11KV
381196038 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB6 | 300051023 | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV |  |  |  | 6 | 2004-11-09 |  | EPE | VJ-32 | 1250.000 A | FEEDER 11KV
381196050 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB31 | 300051019 | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV |  |  |  | 31 | 2004-11-09 |  | EPE | VJ-32 | 2000.000 A | INCOMER NO. 1
381196051 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB11 |  | 11 kV | OPEN | VACUUM |  | PMU SUNGAI BESAR 132/11kV
381196088 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB7 |  | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV | [9 empty] | D00054 PE T/AIR 13 SG NIPAH
381196101 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001/MB6L5 | 300274917 | 33 kV | CLOSED | VACUUM |  | PMU SG BESAR 132/33 kV |  |  |  | 6L5 | 2004-11-09 |  | EPE | EPE | 1250.000 A | FEEDER 33KV
381196106 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001/MB5L5 | 300274916 | 33 kV | CLOSED | VACUUM |  | PMU SG BESAR 132/33 kV |  |  |  | 5L5 | 2004-11-09 |  | EPE | EPE | 1250.000 A | FEEDER 33KV
381196117 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001/MB7L5 | 300274918 | 33 kV | CLOSED | VACUUM |  | PMU SG BESAR 132/33 kV |  |  |  | 7L5 | 2004-11-09 |  | EPE | EPE | 1250.000 A | FEEDER 33KV
381196126 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001/MB4L5 | 300274914 | 33 kV | CLOSED | VACUUM |  | PMU SG BESAR 132/33 kV |  |  |  | 4L5 | 2004-11-09 |  | EPE | EPE | 1250.000 A | FEEDER 33KV
381196170 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001/MB10L5 | 300274907 | 33 kV | CLOSED | VACUUM |  | PMU SG BESAR 132/33 kV |  |  |  | 10L5 | 2004-11-09 |  | EPE | EPE | 1250.000 A | FEEDER 33KV
381196172 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001/MB1L5 |  | 33 kV | OPEN | VACUUM |  | PMU SG BESAR 132/33 kV | [9 empty] | SPARE
381196192 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001/MB2L5 | 300274910 | 33 kV | OPEN | VACUUM |  | PMU SG BESAR 132/33 kV |  |  |  | 2L5 | 2004-11-09 |  | EPE | EPE | 1250.000 A | FEEDER 33KV
381196222 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001/MB9L5 | 300274920 | 33 kV | CLOSED | VACUUM |  | PMU SG BESAR 132/33 kV |  |  |  | 9L5 | 2004-11-09 |  | EPE | EPE | 1250.000 A | FEEDER 33KV
381196228 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001/MB3L5 | 300274913 | 33 kV | OPEN | VACUUM |  | PMU SG BESAR 132/33 kV |  |  |  | 3L5 | 2004-11-09 |  | EPE | EPE | 1250.000 A | FEEDER 33KV
381196244 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001/MB8L5 | 300274919 | 33 kV | CLOSED | VACUUM |  | PMU SG BESAR 132/33 kV |  |  |  | 8L5 | 2004-11-09 |  | EPE | EPE | 1250.000 A | FEEDER 33KV
381487928 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | CLOSED | VACUUM | D00483 | S/S POLITEKNIK SABAK BERNAM

## Output
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | ERMS Equipment No | Operating Voltage | Normal Status | Insulation Type | Feeder Label | Substation Name | Mnemonics | ERMS System Status | ERMS User Status | Breaker No. | Date Commissioned | Manufacturer | Manufacturer _Old_ | Model Number | Rated Current | Feeder Direction | Remarks | Check | Detail
257701142 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN | VACUUM | SGLG-16 | PPU SUNGAI LANG | [6 empty] | ITEM | 8BK-88 K16 | 630.000 A | SPARE16(SGLG) |  | Pass | null
257701143 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN | VACUUM | SGLG-14 | PPU SUNGAI LANG | [6 empty] | ITEM | 8BK-88 K14 | 630.000 A | SPARE14(SGLG) |  | Pass | null
257701169 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN | VACUUM | SGLG-8 | PPU SUNGAI LANG | [6 empty] | ITEM | 8BK-88 K08 | 630.000 A | SPARE8(SGLG) |  | Pass | null
257701170 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN | VACUUM | SGLG-10 | PPU SUNGAI LANG | [6 empty] | ITEM | 8BK-88 K10 | 630.000 A | SPARE10(SGLG) |  | Pass | null
257701171 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN | VACUUM | SGLG-12 | PPU SUNGAI LANG | [6 empty] | ITEM | 8BK-88 K12 | 630.000 A | SPARE12(SGLG) |  | Pass | null
257701225 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/NB4 | 300259593 | 11 kV | CLOSED | VACUUM | SGLG-4 | PPU SUNGAI LANG |  |  |  | 4 | 20080105 |  | ABB | ABB | 630.000 A | FEEDER 11KV |  | Pass | null
257701226 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/NB6 | 300259595 | 11 kV | OPEN | VACUUM | SGLG-6 | PPU SUNGAI LANG |  |  |  | 6 | 20080105 |  | ABB | ABB | 630.000 A | FEEDER 11KV |  | Pass | null
257701227 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/MB4P5 | 300259586 | Unknown | OPEN | GAS | SGLG-4 | PPU SUNGAI LANG |  |  |  | 4P5 | 20080105 |  | ITEM | ITEM SIEMENS | 1250.000 A | FEEDER 33KV |  | Fail | Please check "Operating Voltage"
257701264 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/MB2HO | 300259583 | 33 kV | CLOSED | GAS | SGLG-2H0 | PPU SUNGAI LANG |  |  |  | 2HO | 20080105 |  | ITEM | ITEM SIEMENS | 2000.000 A | TRANSFORMER 2 |  | Pass | null
257701314 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/NB32 | 300259592 | 11 kV | CLOSED | GAS | SGLG-32 | PPU SUNGAI LANG |  |  |  | 32 | 20080105 |  | ABB | ABB | 2000.000 A | INCOMER NO.2 |  | Pass | null
257701315 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/NB2 | 300259588 | 11 kV | OPEN | VACUUM | SGLG-2 | PPU SUNGAI LANG |  |  |  | 2 | 20080105 |  | ABB | ABB | 630.000 A | FEEDER 11KV |  | Pass | null
257701404 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/MB1HO | 300259581 | 33 kV | CLOSED | GAS | SGLG-1H0 | PPU SUNGAI LANG |  |  |  | 1HO | 20080105 |  | ITEM | ITEM SIEMENS | 2000.000 A | TRANSFORMER 1 |  | Pass | null
257701405 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/MB1P5 | 300259582 | Unknown | CLOSED | GAS | SGLG-1 | PPU SUNGAI LANG |  |  |  | 1P5 | 20080105 |  | ITEM | ITEM SIEMENS | 1250.000 A | FEEDER 33KV |  | Fail | Please check "Operating Voltage"
257701433 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/MB3P5 | 300259585 | Unknown | OPEN | GAS | SGLG-3 | PPU SUNGAI LANG |  |  |  | 3P5 | 20080105 |  | ITEM | ITEM SIEMENS | 1250.000 A | FEEDER 33KV |  | Fail | Please check "Operating Voltage"
257701434 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/NB31 | 300259591 | 11 kV | CLOSED | VACUUM | SGLG-31 | PPU SUNGAI LANG |  |  |  | 31 | 20080105 |  | ABB | ABB | 2000.000 A | INCOMER NO.1 |  | Pass | null
257701491 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN | VACUUM | SGLG-9 | PPU SUNGAI LANG | [6 empty] | ITEM | 8BK-88 K09 | 630.000 A | SPARE9(SGLG) |  | Pass | null
257701492 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN | VACUUM | SGLG-11 | PPU SUNGAI LANG | [6 empty] | ITEM | 8BK-88 K11 | 630.000 A | SPARE11(SGLG) |  | Pass | null
257701493 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/NB13 | 300260902 | 11 kV | CLOSED | VACUUM | SGLG-13 | PPU SUNGAI LANG |  |  |  | 13 | 20080105 |  | ABB | ABB | 630.000 A | FEEDER 11KV |  | Pass | null
257701522 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/NB5 | 300259594 | 11 kV | OPEN | VACUUM | SGLG-5 | PPU SUNGAI LANG |  |  |  | 5 | 20080105 |  | ABB | ABB | 630.000 A | FEEDER 11KV |  | Pass | null
257701523 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN | VACUUM | SGLG-7 | PPU SUNGAI LANG | [6 empty] | ITEM | 8BK-88 K07 | 630.000 A | SPARE7(SGLG) |  | Pass | null
257701524 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/NB1 | 300259587 | 11 kV | CLOSED | VACUUM | SGLG-1 | PPU SUNGAI LANG |  |  |  | 1 | 20080105 |  | ABB | ABB | 630.000 A | FEEDER 11KV |  | Pass | null
257701525 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/NB3 | 300259589 | 11 kV | OPEN | VACUUM | SGLG-3 | PPU SUNGAI LANG |  |  |  | 3 | 20080105 |  | ABB | ABB | 630.000 A | FEEDER 11KV |  | Pass | null
257701580 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/MB2P5 | 300259584 | Unknown | OPEN | GAS | SGLG-2 | PPU SUNGAI LANG |  |  |  | 2P5 | 20080105 |  | ITEM | ITEM SIEMENS | 1250.000 A | FEEDER 33KV |  | Fail | Please check "Operating Voltage"
379383660 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00002/NB31 | 300051030 | 11 kV | CLOSED |  |  | PPU SUNGAI BESAR |  |  |  | 31 | 19800109 |  | AICHI | AICHI | 2000.000 A | INCOMER NO.1 |  | Fail | Please check "InsulationType"
379383765 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00002/NB5 | 300051033 | 33 kV | CLOSED |  |  | PPU SUNGAI BESAR |  |  |  | 5 | 19800109 |  | AICHI | AICHI | 630.000 A | FEEDER 11KV |  | Fail | Please check "InsulationType"
379383991 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 33 kV | CLOSED |  |  | PPU SUNGAI BESAR | [11 empty] | Fail | Please check "InsulationType"
379384006 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN |  |  | PPU SUNGAI BESAR | [11 empty] | Fail | Please check "InsulationType"
379384162 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 33 kV | CLOSED |  |  | PPU SUNGAI BESAR | [11 empty] | Fail | Please check "InsulationType"
379384276 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00002/NB3 | 300051028 | 11 kV | CLOSED |  |  | PPU SUNGAI BESAR |  |  |  | 3 | 19800109 |  | AICHI | AICHI | 630.000 A | FEEDER 11KV |  | Fail | Please check "InsulationType"
379384357 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00002/MB1HO | 300051024 | 33 kV | CLOSED |  |  | PPU SUNGAI BESAR |  |  |  | 1HO | 19800109 |  |  | GCB | 2000.000 A | TRANSFORMER 1 |  | Fail | Please check "InsulationType"
379384496 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00002/NB1 | 300051026 | 11 kV | CLOSED |  |  | PPU SUNGAI BESAR |  |  |  | 1 | 19800109 |  | AICHI | AICHI | 630.000 A | FEEDER 11KV |  | Fail | Please check "InsulationType"
379384519 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN |  |  | PPU SUNGAI BESAR | [11 empty] | Fail | Please check "InsulationType"
379384900 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN |  |  | PPU SUNGAI BESAR | [11 empty] | Fail | Please check "InsulationType"
379384902 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | OPEN |  |  | PPU SUNGAI BESAR | [11 empty] | Fail | Please check "InsulationType"
379397796 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | CLOSED | VACUUM | D00480 | S/S POLITEKNIK SABAK BERNAM | [11 empty] | Pass | null
379397798 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | CLOSED | VACUUM | D00478 | S/S POLITEKNIK SABAK BERNAM | [11 empty] | Pass | null
379397823 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | CLOSED | VACUUM | D00479 | S/S POLITEKNIK SABAK BERNAM | [11 empty] | Pass | null
379397851 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | CLOSED | VACUUM | D00482 | S/S POLITEKNIK SABAK BERNAM | [11 empty] | Pass | null
379397965 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PCE/J00166/MB03 | 310344082 | 11 kV | CLOSED | VACUUM |  | P/E SEK AGAMA SUNGAI LANG |  |  |  | 4 |  |  |  |  | 630.000 A | SEKOLAH AGAMA SG LANG |  | Pass | null
379397989 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PCE/J00166/MB | 300040507 | 11 kV | CLOSED | VACUUM |  | P/E SEK AGAMA SUNGAI LANG |  |  |  | 4 | 20/10/2010 |  |  | HICLAD | 630.000 A | SEKOLAH AGAMA SG LANG |  | Pass | null
379397990 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PCE/J00166/MB02 | 310344081 | 11 kV | CLOSED | VACUUM |  | P/E SEK AGAMA SUNGAI LANG |  |  |  | 4 |  |  |  |  | 630.000 A | SEKOLAH AGAMA SG LANG |  | Pass | null
379550184 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/NB31 | 300051042 | 11 kV | CLOSED | VACUUM |  | PPU SABAK BERNAM |  |  |  | 31 | 19860106 |  | TAMCO | VH1D | 2000.000 A | INCOMER NO.1 |  | Pass | null
379550289 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/NB5 | 300051045 | 33 kV | CLOSED | VACUUM |  | PPU SABAK BERNAM |  |  |  | 5 | 19860106 |  | TAMCO | VH1D | 630.000 A | FEEDER 11KV |  | Pass | null
379550293 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/NB6 | 300051046 | 11 kV | CLOSED | VACUUM |  | PPU SABAK BERNAM |  |  |  | 6 | 19860106 |  | TAMCO | VH1D | 630.000 A | FEEDER 11KV |  | Pass | null
379550515 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 33 kV | CLOSED |  |  | PPU SABAK BERNAM | [11 empty] | Fail | Please check "InsulationType"
379550601 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/NB8 | 300051047 | 11 kV | CLOSED | VACUUM |  | PPU SABAK BERNAM |  |  |  | 8 | 19860106 |  | TAMCO | VH1D | 630.000 A | FEEDER 11KV |  | Pass | null
379550690 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/MB2HO | 300051037 | 33 kV | CLOSED | VACUUM |  | PPU SABAK BERNAM |  |  |  | 2HO | 19860106 |  |  | GCB | 2000.000 A | TRANSFORMER 2 |  | Pass | null
379550778 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/NB32 | 300051043 | 11 kV | CLOSED | VACUUM |  | PPU SABAK BERNAM |  |  |  | 32 | 19860106 |  | TAMCO | VH1D | 2000.000 A | INCOMER NO.2 |  | Pass | null
379550800 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/NB3 | 300051040 | 11 kV | CLOSED | VACUUM |  | PPU SABAK BERNAM |  |  |  | 3 | 19860106 |  | TAMCO | VH1D | 630.000 A | FEEDER 11KV |  | Pass | null
379688428 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/NB1 | 300051038 | 11 kV | CLOSED | VACUUM |  | PPU SABAK BERNAM |  |  |  | 1 | 19860106 |  | TAMCO | VH1D | 630.000 A | FEEDER 11KV |  | Pass | null
379688874 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/NB4 | 300051044 | 11 kV | CLOSED | VACUUM |  | PPU SABAK BERNAM |  |  |  | 4 | 19860106 |  | TAMCO | VH1D | 630.000 A | FEEDER 11KV |  | Pass | null
379689026 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/NB2 | 300051039 | 11 kV | CLOSED | VACUUM |  | PPU SABAK BERNAM |  |  |  | 2 | 19860106 |  | TAMCO | VH1D | 630.000 A | FEEDER 11KV |  | Pass | null
381028859 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | CLOSED | VACUUM | D06734 | P/E LOJI AIR PARIT 16 JLN SG PANJANG | [9 empty] | PENGGUNA HT |  | Pass | null
381028874 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | CLOSED | VACUUM | D06733 | P/E LOJI AIR PARIT 16 JLN SG PANJANG | [9 empty] | D00242 MASJID PT 14 SG PANJANG |  | Pass | null
381028876 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | CLOSED | VACUUM | D06735 | P/E LOJI AIR PARIT 16 JLN SG PANJANG | [9 empty] | D00244 S/LINK PRT 16 SG PANJANG |  | Pass | null
381195877 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB3 | 300051017 | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV |  |  |  | 3 | 20041109 |  | EPE | VJ-32 | 1250.000 A | FEEDER 11KV |  | Pass | null
381195878 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB12 |  | 11 kV | OPEN | VACUUM | SPARE | PMU SUNGAI BESAR 132/11kV | [11 empty] | Pass | null
381195926 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB32 | 300051020 | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV |  |  |  | 32 | 20041109 |  | EPE | VJ-32 | 2000.000 A | INCOMER NO.2 |  | Pass | null
381195950 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB14 |  | 11 kV | OPEN | VACUUM | SPARE | PMU SUNGAI BESAR 132/11kV | [11 empty] | Pass | null
381195956 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB9 |  | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV | [9 empty] | D06770 PE BIN DAWOOD |  | Pass | null
381195969 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB10 |  | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV | [9 empty] | D00728 PE KILANG BERAS |  | Pass | null
381195973 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB1 | 300051015 | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV |  |  |  | 1 | 20041109 |  | EPE | VJ-32 | 1250.000 A | FEEDER 11KV |  | Pass | null
381195974 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB13 |  | 11 kV | OPEN | VACUUM | SPARE | PMU SUNGAI BESAR 132/11kV | [11 empty] | Pass | null
381195981 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB5 | 300051022 | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV |  |  |  | 5 | 20041109 |  | EPE | VJ-32 | 1250.000 A | FEEDER 11KV |  | Pass | null
381195986 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB2 | 300051016 | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV |  |  |  | 2 | 20041109 |  | EPE | VJ-32 | 1250.000 A | FEEDER 11KV |  | Pass | null
381196030 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB8 |  | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV | [11 empty] | Pass | null
381196036 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB4 | 300051021 | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV |  |  |  | 4 | 20041109 |  | EPE | VJ-32 | 1250.000 A | FEEDER 11KV |  | Pass | null
381196038 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB6 | 300051023 | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV |  |  |  | 6 | 20041109 |  | EPE | VJ-32 | 1250.000 A | FEEDER 11KV |  | Pass | null
381196050 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB31 | 300051019 | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV |  |  |  | 31 | 20041109 |  | EPE | VJ-32 | 2000.000 A | INCOMER NO. 1 |  | Pass | null
381196051 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB11 |  | 11 kV | OPEN | VACUUM |  | PMU SUNGAI BESAR 132/11kV | [11 empty] | Pass | null
381196088 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/J00001/MB7 |  | 11 kV | CLOSED | VACUUM |  | PMU SUNGAI BESAR 132/11kV | [9 empty] | D00054 PE T/AIR 13 SG NIPAH |  | Pass | null
381196101 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001/MB6L5 | 300274917 | 33 kV | CLOSED | VACUUM |  | PMU SG BESAR 132/33 kV |  |  |  | 6L5 | 20041109 |  | EPE | EPE | 1250.000 A | FEEDER 33KV |  | Pass | null
381196106 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001/MB5L5 | 300274916 | 33 kV | CLOSED | VACUUM |  | PMU SG BESAR 132/33 kV |  |  |  | 5L5 | 20041109 |  | EPE | EPE | 1250.000 A | FEEDER 33KV |  | Pass | null
381196117 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001/MB7L5 | 300274918 | 33 kV | CLOSED | VACUUM |  | PMU SG BESAR 132/33 kV |  |  |  | 7L5 | 20041109 |  | EPE | EPE | 1250.000 A | FEEDER 33KV |  | Pass | null
381196126 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001/MB4L5 | 300274914 | 33 kV | CLOSED | VACUUM |  | PMU SG BESAR 132/33 kV |  |  |  | 4L5 | 20041109 |  | EPE | EPE | 1250.000 A | FEEDER 33KV |  | Pass | null
381196170 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001/MB10L5 | 300274907 | 33 kV | CLOSED | VACUUM |  | PMU SG BESAR 132/33 kV |  |  |  | 10L5 | 20041109 |  | EPE | EPE | 1250.000 A | FEEDER 33KV |  | Pass | null
381196172 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001/MB1L5 |  | 33 kV | OPEN | VACUUM |  | PMU SG BESAR 132/33 kV | [9 empty] | SPARE |  | Pass | null
381196192 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001/MB2L5 | 300274910 | 33 kV | OPEN | VACUUM |  | PMU SG BESAR 132/33 kV |  |  |  | 2L5 | 20041109 |  | EPE | EPE | 1250.000 A | FEEDER 33KV |  | Pass | null
381196222 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001/MB9L5 | 300274920 | 33 kV | CLOSED | VACUUM |  | PMU SG BESAR 132/33 kV |  |  |  | 9L5 | 20041109 |  | EPE | EPE | 1250.000 A | FEEDER 33KV |  | Pass | null
381196228 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001/MB3L5 | 300274913 | 33 kV | OPEN | VACUUM |  | PMU SG BESAR 132/33 kV |  |  |  | 3L5 | 20041109 |  | EPE | EPE | 1250.000 A | FEEDER 33KV |  | Pass | null
381196244 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PMU/G00001/MB8L5 | 300274919 | 33 kV | CLOSED | VACUUM |  | PMU SG BESAR 132/33 kV |  |  |  | 8L5 | 20041109 |  | EPE | EPE | 1250.000 A | FEEDER 33KV |  | Pass | null
381487928 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing |  |  | 11 kV | CLOSED | VACUUM | D00483 | S/S POLITEKNIK SABAK BERNAM | [11 empty] | Pass | null