## Main Transformer
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | ERMS Equipment No | Label | Phasing | Substation Name | Demand Load | ERMS System Status | ERMS User Status | Voltage In [Old] | Voltage In/Out | Voltage Out [Old] | Manufacturer | Manufacturer [Old] | Capacity | Date Commissioned | Remarks | Main Transformer Units
257701265 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/MATX2 | 300291631 | T2 | RYB | PPU SUNGAI LANG |  |  |  | 33 kV |  | 11 kV |  | OTHERS | 15.00 MVA | 2008-01-05 |  | 1
257701378 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/MATX1 | 300259580 | T1 | RYB | PPU SUNGAI LANG |  |  |  | 33 kV |  | 11 kV |  | OTHERS | 15.00 MVA | 2008-01-05 |  | 1
379384102 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00002/MATX1 | 300051832 | T1 | RYB | PPU SUNGAI BESAR |  |  |  | 33 kV |  | 11 kV |  | FERRANTI | 7.50 MVA | 1980-01-09 |  | 2
379550626 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/MATX1 | 300051835 | TX1 | RYB | PPU SABAK BERNAM |  |  |  | 33 kV |  | 11 kV |  |  | 7.50 MVA | 1986-01-06 |  | 2
381487900 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/MATX2 | 300051836 | TX2 | RYB | PPU SABAK BERNAM |  |  |  | 33 kV |  | 11 kV |  |  | 7.50 MVA | 1986-01-06 |  | 1
383312763 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PCE/G00008/MATX1 | 300276020 | TX1-772 | RYB |  |  |  |  | 33 kV |  | 11 kV |  | MTM | 1.50 MVA | 16/04/1995 |  | 1

## Output
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | ERMS Equipment No | Label | Phasing | Substation Name | Demand Load | ERMS System Status | ERMS User Status | Voltage In _Old_ | Voltage In/Out | Voltage Out _Old_ | Manufacturer | Manufacturer _Old_ | Capacity | Date Commissioned | Remarks | Main Transformer Units | Check | Detail
257701265 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/MATX2 | 300291631 | T2 | RYB | PPU SUNGAI LANG |  |  |  | 33 kV |  | 11 kV |  | OTHERS | 15.00 MVA | 20080105 |  | 1 | Fail | Please check "VoltageIn/Out"
257701378 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00001/MATX1 | 300259580 | T1 | RYB | PPU SUNGAI LANG |  |  |  | 33 kV |  | 11 kV |  | OTHERS | 15.00 MVA | 20080105 |  | 1 | Fail | Please check "VoltageIn/Out"
379384102 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00002/MATX1 | 300051832 | T1 | RYB | PPU SUNGAI BESAR |  |  |  | 33 kV |  | 11 kV |  | FERRANTI | 7.50 MVA | 19800109 |  | 2 | Fail | Please check "VoltageIn/Out"
379550626 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/MATX1 | 300051835 | TX1 | RYB | PPU SABAK BERNAM |  |  |  | 33 kV |  | 11 kV |  |  | 7.50 MVA | 19860106 |  | 2 | Fail | Please check "VoltageIn/Out"
381487900 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PPU/G00003/MATX2 | 300051836 | TX2 | RYB | PPU SABAK BERNAM |  |  |  | 33 kV |  | 11 kV |  |  | 7.50 MVA | 19860106 |  | 1 | Fail | Please check "VoltageIn/Out"
383312763 | TNB | DISTRIBUTION | SUNGAI BESAR | Existing | BSBR/PCE/G00008/MATX1 | 300276020 | TX1-772 | RYB |  |  |  |  | 33 kV |  | 11 kV |  | MTM | 1.50 MVA | 16/04/1995 |  | 1 | Fail | Please check "VoltageIn/Out"