## MV OH Conductor
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | ERMS Equipment No | Data Quality Class | Phasing | Nominal Voltage | Label | From | To | Actual Length | Calculated Length | ERMS System Status | ERMS User Status | Remarks | MV OH Wires | MV OH Annotations
15188232 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL |  |  |  | 1049.546 m |  |  |  | 3 | 4
56315858 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SG WAY QUARRY IND SB: B01778 | RICHWAY: B11651 |  | 46.712 m |  |  |  | 3 | 0
56315874 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | BT 10 3/4 JLN CHERAS: B11165 | IPV: B01779 |  | 386.144 m |  |  |  | 3 | 0
56315897 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | BT 10 3/4 JLN CHERAS: B11165 | IPV: B01779 |  | 156.298 m |  |  |  | 3 | 0
56315903 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SG WAY QUARRY IND SB: B01778 | RICHWAY: B11651 |  | 187.438 m |  |  |  | 3 | 0
56479070 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | PERNIAGAAN MASRIA: B10382 | TMN MASRIA: B12278 [OFF] |  | 380.167 m |  |  |  | 3 | 0
56504778 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240_MMP_AL_ABC_INS | PPU TSGR: VCB6 | PEJABAT HUTAN CHERAS: B02153 |  | 261.101 m |  |  |  | 3 | 0
56504787 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240_MMP_AL_ABC_INS | PPU TSGR: VCB6 | PEJABAT HUTAN CHERAS: B02153 |  | 288.696 m |  |  |  | 3 | 0
56504798 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240_MMP_AL_ABC_INS | PPU TSGR: VCB6 | PEJABAT HUTAN CHERAS: B02153 |  | 227.019 m |  |  |  | 3 | 0
56594975 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | PPU MHCR: 9 | TMN ULU LANGAT JAYA NO 1: B09445 |  | 537.464 m |  |  |  | 3 | 0
56594979 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | Class C | RYB | 11 kV | 3X_240 ABC AL | PPU MHCR: 7 | TMN UDA MURNI: B10546 |  | 511.516 m |  |  |  | 3 | 0
56629288 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | FAIR VIEW: B08217 | FELCRA SEMUNGKIS: B08282 |  | 441.655 m |  |  |  | 3 | 0
56629305 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | FAIR VIEW: B08217 | FELCRA SEMUNGKIS: B08282 |  | 163.253 m |  |  |  | 3 | 0
56629316 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | FAIR VIEW: B08217 | FELCRA SEMUNGKIS: B08282 |  | 33.338 m |  |  |  | 3 | 0
56629324 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | FAIR VIEW: B08217 | FELCRA SEMUNGKIS: B08282 |  | 288.283 m |  |  |  | 3 | 0
56629332 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | FAIR VIEW: B08217 | FELCRA SEMUNGKIS: B08282 |  | 410.254 m |  |  |  | 3 | 0
56629339 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | FAIR VIEW: B08217 | FELCRA SEMUNGKIS: B08282 |  | 62.605 m |  |  |  | 3 | 0
56629347 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | FAIR VIEW: B08217 | FELCRA SEMUNGKIS: B08282 |  | 29.866 m |  |  |  | 3 | 0
56659396 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | Class C | RYB | 11 kV | 3X_240 ABC AL | PPU MHCR: 7 | TMN UDA MURNI: B10546 |  | 431.167 m |  |  |  | 3 | 0
56659426 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | TMN ULU LANGAT JAYA NO 2: B05925 | TMN MAS JAYA IND NO 1: B02323 |  | 395.179 m |  |  |  | 3 | 0
56659440 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 294.310 m |  |  |  | 3 | 0
56659445 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 83.449 m |  |  |  | 3 | 0
56659450 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | Class C | RYB | 11 kV | 3X_240 ABC AL | PPU MHCR: 7 | TMN UDA MURNI: B10546 |  | 459.780 m |  |  |  | 3 | 0
56659455 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 194.333 m |  |  |  | 3 | 0
56659460 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 291.456 m |  |  |  | 3 | 0
56659465 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | Class C | RYB | 11 kV | 3X_240 ABC AL | PPU MHCR: 7 | TMN UDA MURNI: B10546 |  | 429.110 m |  |  |  | 3 | 0
56659470 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 77.651 m |  |  |  | 3 | 0
56659475 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 59.794 m |  |  |  | 3 | 0
56659480 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 454.041 m |  |  |  | 3 | 0
56663792 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 92.415 m |  |  |  | 3 | 0
56663910 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 915.173 m |  |  |  | 3 | 0
56664022 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 312.522 m |  |  |  | 3 | 0
56664027 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 43.618 m |  |  |  | 3 | 0
56672214 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | Class C | RYB | 11 kV | 3X_240 ABC AL | JLN SERI BUDIMAN 2/2: B10254 | JALAN BENTARA 1/5 BDR MAHKOTA CHERAS: B08072 |  | 781.115 m |  |  |  | 3 | 0
56672234 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | Class C | RYB | 11 kV | 3X_240 ABC AL | CHERAS VISTA BMC: B08667 | JLN CHERAS VISTA 2/1 BMC: B10646 |  | 363.074 m |  |  |  | 3 | 0
56672250 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | Class C | RYB | 11 kV | 3X_240 ABC AL | PE JLN HULUBALANG BMC: B13928 | JLN CHERAS VISTA NO 2: B11054 |  | 192.312 m |  |  |  | 3 | 0
56672265 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | Class C | RYB | 11 kV | 3X_240 ABC AL | JALAN BENTARA 1/5 BDR MAHKOTA CHERAS: B08069 | JLN HULUBALANG 2/4: B10928 |  | 172.259 m |  |  |  | 3 | 0
56685151 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | PE SIN CHEE HENG: B14381 | RMH PAM TMN SUTERA: B08812 |  | 146.277 m |  |  |  | 3 | 0
56685161 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | RMH PAM TMN SUTERA: B08810 | TMN SUTERA 2/3A (TMN SUTERA): B08063 |  | 208.138 m |  |  |  | 3 | 0
56685172 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | RMH PAM TMN SUTERA: B08810 | TMN SUTERA 2/3A (TMN SUTERA): B08063 |  | 243.841 m |  |  |  | 3 | 0
56685183 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | RMH PAM TMN SUTERA: B08810 | TMN SUTERA 2/3A (TMN SUTERA): B08063 |  | 275.165 m |  |  |  | 3 | 0
56685197 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | TMN SUTERA 2/3A (TMN SUTERA): B08065 | JLN SUTERA 2/1A: B08813 |  | 273.875 m |  |  |  | 3 | 0
56685210 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | JLN SUTERA 2/5: B08318 |  |  | 145.868 m |  |  |  | 3 | 0
56685228 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | APARTMENT MAWAR: B08300 | CHERAS PRIMA NO 4: B08568 |  | 93.514 m |  |  |  | 3 | 0
56685240 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | APARTMENT MAWAR: B08300 | CHERAS PRIMA NO 4: B08568 |  | 378.710 m |  |  |  | 3 | 0
56775315 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 181.408 m |  |  |  | 3 | 0
56775319 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 263.857 m |  |  |  | 3 | 0
56775325 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 37.828 m |  |  |  | 3 | 0
56775614 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 200.788 m |  |  |  | 3 | 0
56775620 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 409.569 m |  |  |  | 3 | 0
56775625 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 245.556 m |  |  |  | 3 | 0
56775630 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 388.343 m |  |  |  | 3 | 0
56775635 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 368.929 m |  |  |  | 3 | 0
56775640 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 382.535 m |  |  |  | 3 | 0
56775645 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 170.793 m |  |  |  | 3 | 0
56775650 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 238.181 m |  |  |  | 3 | 0
56775655 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 369.451 m |  |  |  | 3 | 0
56775660 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 432.017 m |  |  |  | 3 | 0
56775665 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 458.779 m |  |  |  | 3 | 0
56775670 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 418.711 m |  |  |  | 3 | 0
56775675 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 413.913 m |  |  |  | 3 | 0
61232503 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 33 kV | 3X_240 ABC AL |  |  |  | 3648.119 m |  |  |  | 3 | 0
252222796 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | FLAT TAMAN HARMONI: B08360 | BOULEVARD BELIMBING HILLS: B10616 |  | 114.195 m |  |  |  | 3 | 2
252222803 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | TMN HARMONI: B02893 | FLAT TAMAN HARMONI: B08358 |  | 112.931 m |  |  |  | 3 | 2
380298116 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 120.574 m |  |  |  | 3 | 0
389282698 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | Class C | RYB | 11 kV | 3X_240 ABC AL |  |  |  | 2460.577 m |  |  |  | 3 | 0
389282735 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 133.018 m |  |  |  | 3 | 0

## Output
Id | Owner Type | Owner Name | Operational Area | Status | ERMS Functional Location | ERMS Equipment No | Data Quality Class | Phasing | Nominal Voltage | Label | From | To | Actual Length | Calculated Length | ERMS System Status | ERMS User Status | Remarks | MV OH Wires | MV OH Annotations | Check | Detail
15188232 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL |  |  |  | 1049.546 m |  |  |  | 3 | 4 | Fail | Please check "Data Quality Class"
56315858 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SG WAY QUARRY IND SB: B01778 | RICHWAY: B11651 |  | 46.712 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56315874 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | BT 10 3/4 JLN CHERAS: B11165 | IPV: B01779 |  | 386.144 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56315897 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | BT 10 3/4 JLN CHERAS: B11165 | IPV: B01779 |  | 156.298 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56315903 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SG WAY QUARRY IND SB: B01778 | RICHWAY: B11651 |  | 187.438 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56479070 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | PERNIAGAAN MASRIA: B10382 | TMN MASRIA: B12278 [OFF] |  | 380.167 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56504778 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240_MMP_AL_ABC_INS | PPU TSGR: VCB6 | PEJABAT HUTAN CHERAS: B02153 |  | 261.101 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56504787 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240_MMP_AL_ABC_INS | PPU TSGR: VCB6 | PEJABAT HUTAN CHERAS: B02153 |  | 288.696 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56504798 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240_MMP_AL_ABC_INS | PPU TSGR: VCB6 | PEJABAT HUTAN CHERAS: B02153 |  | 227.019 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56594975 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | PPU MHCR: 9 | TMN ULU LANGAT JAYA NO 1: B09445 |  | 537.464 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56594979 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | Class C | RYB | 11 kV | 3X_240 ABC AL | PPU MHCR: 7 | TMN UDA MURNI: B10546 |  | 511.516 m |  |  |  | 3 | 0 | Pass | null
56629288 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | FAIR VIEW: B08217 | FELCRA SEMUNGKIS: B08282 |  | 441.655 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56629305 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | FAIR VIEW: B08217 | FELCRA SEMUNGKIS: B08282 |  | 163.253 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56629316 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | FAIR VIEW: B08217 | FELCRA SEMUNGKIS: B08282 |  | 33.338 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56629324 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | FAIR VIEW: B08217 | FELCRA SEMUNGKIS: B08282 |  | 288.283 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56629332 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | FAIR VIEW: B08217 | FELCRA SEMUNGKIS: B08282 |  | 410.254 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56629339 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | FAIR VIEW: B08217 | FELCRA SEMUNGKIS: B08282 |  | 62.605 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56629347 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | FAIR VIEW: B08217 | FELCRA SEMUNGKIS: B08282 |  | 29.866 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56659396 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | Class C | RYB | 11 kV | 3X_240 ABC AL | PPU MHCR: 7 | TMN UDA MURNI: B10546 |  | 431.167 m |  |  |  | 3 | 0 | Pass | null
56659426 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | TMN ULU LANGAT JAYA NO 2: B05925 | TMN MAS JAYA IND NO 1: B02323 |  | 395.179 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56659440 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 294.310 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56659445 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 83.449 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56659450 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | Class C | RYB | 11 kV | 3X_240 ABC AL | PPU MHCR: 7 | TMN UDA MURNI: B10546 |  | 459.780 m |  |  |  | 3 | 0 | Pass | null
56659455 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 194.333 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56659460 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 291.456 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56659465 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | Class C | RYB | 11 kV | 3X_240 ABC AL | PPU MHCR: 7 | TMN UDA MURNI: B10546 |  | 429.110 m |  |  |  | 3 | 0 | Pass | null
56659470 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 77.651 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56659475 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 59.794 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56659480 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 454.041 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56663792 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 92.415 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56663910 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 915.173 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56664022 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 312.522 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56664027 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 43.618 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56672214 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | Class C | RYB | 11 kV | 3X_240 ABC AL | JLN SERI BUDIMAN 2/2: B10254 | JALAN BENTARA 1/5 BDR MAHKOTA CHERAS: B08072 |  | 781.115 m |  |  |  | 3 | 0 | Pass | null
56672234 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | Class C | RYB | 11 kV | 3X_240 ABC AL | CHERAS VISTA BMC: B08667 | JLN CHERAS VISTA 2/1 BMC: B10646 |  | 363.074 m |  |  |  | 3 | 0 | Pass | null
56672250 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | Class C | RYB | 11 kV | 3X_240 ABC AL | PE JLN HULUBALANG BMC: B13928 | JLN CHERAS VISTA NO 2: B11054 |  | 192.312 m |  |  |  | 3 | 0 | Pass | null
56672265 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | Class C | RYB | 11 kV | 3X_240 ABC AL | JALAN BENTARA 1/5 BDR MAHKOTA CHERAS: B08069 | JLN HULUBALANG 2/4: B10928 |  | 172.259 m |  |  |  | 3 | 0 | Pass | null
56685151 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | PE SIN CHEE HENG: B14381 | RMH PAM TMN SUTERA: B08812 |  | 146.277 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56685161 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | RMH PAM TMN SUTERA: B08810 | TMN SUTERA 2/3A (TMN SUTERA): B08063 |  | 208.138 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56685172 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | RMH PAM TMN SUTERA: B08810 | TMN SUTERA 2/3A (TMN SUTERA): B08063 |  | 243.841 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56685183 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | RMH PAM TMN SUTERA: B08810 | TMN SUTERA 2/3A (TMN SUTERA): B08063 |  | 275.165 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56685197 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | TMN SUTERA 2/3A (TMN SUTERA): B08065 | JLN SUTERA 2/1A: B08813 |  | 273.875 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56685210 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | JLN SUTERA 2/5: B08318 |  |  | 145.868 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56685228 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | APARTMENT MAWAR: B08300 | CHERAS PRIMA NO 4: B08568 |  | 93.514 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56685240 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | APARTMENT MAWAR: B08300 | CHERAS PRIMA NO 4: B08568 |  | 378.710 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56775315 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 181.408 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56775319 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 263.857 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56775325 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 37.828 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56775614 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 200.788 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56775620 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 409.569 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56775625 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 245.556 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56775630 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 388.343 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56775635 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 368.929 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56775640 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 382.535 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56775645 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 170.793 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56775650 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 238.181 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56775655 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 369.451 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56775660 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 432.017 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56775665 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 458.779 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56775670 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 418.711 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
56775675 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 413.913 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
61232503 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 33 kV | 3X_240 ABC AL |  |  |  | 3648.119 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
252222796 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | FLAT TAMAN HARMONI: B08360 | BOULEVARD BELIMBING HILLS: B10616 |  | 114.195 m |  |  |  | 3 | 2 | Fail | Please check "Data Quality Class"
252222803 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | TMN HARMONI: B02893 | FLAT TAMAN HARMONI: B08358 |  | 112.931 m |  |  |  | 3 | 2 | Fail | Please check "Data Quality Class"
380298116 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 120.574 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"
389282698 | TNB | DISTRIBUTION | CHERAS | Existing |  |  | Class C | RYB | 11 kV | 3X_240 ABC AL |  |  |  | 2460.577 m |  |  |  | 3 | 0 | Pass | null
389282735 | TNB | DISTRIBUTION | CHERAS | Existing |  |  |  | RYB | 11 kV | 3X_240 ABC AL | SWS TMN MAS SEMENTARA B: B10138 | RUMAH PANGSA BKT KUNDANG: B10193 [OFF] |  | 133.018 m |  |  |  | 3 | 0 | Fail | Please check "Data Quality Class"